## g2024-07-05-01-003-001
Schedule ( WBS.No:G-2024-07-05-01-03-001)
Name of the work:Shifting of 33KV,LT lines & DTR structures which are obstructing for widening/stregthening of 33KV,LT lines & DTR structures which are obstructing for widening/strengthening of road from Priyadarshini Vegetarian Hotel (Suraram Chowrastha) to Sri.Balaji Motors (Mallareddy Narayana Hospital crossing) of GHMC work in Jeedimetla division of Medchal circle as per the request received fro M/s The Deputy Commissiner GHMC,Gajularamaram circle Quthbullapur,Hyderabad under DCW works (Obstructing traffic).
S.No | SAP Code | Estimate Quantity (Only figures) | Item Detailed Specification Description | Work Type eg., Earth Work, Electrical works..etc., (Upto 200 Characters) | Item Short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | Rate INR upto 2 Decimals | Amount INR (Upto 2 Decimals)
Detailed Estimate for 33KV
1 | SWR11850 | 2 | Galvanized Erect of M+3 Tower | Electrical Work | Erection of Work | As per relevent standard specification | 64576 | EA | 129152
2 | SMR11683 | 2 | Galvanized Suply of M+3 Tower | Electrical Work | Supply of Work | As per relevent standard specification | 140674.3 | EA | 281348.6
3 | SMR11684 | 2 | Galvanized Supply of material for Extension of 3Mtrs for M+3 | Electrical Work | Supply of Work | As per relevent standard specification | 28520.64 | EA | 57041.28
4 | SWR11851 | 2 | Galvanized Erection of Extension of 3M for M+3 Tower | Electrical Work | Erection of Work | As per relevent standard specification | 5168.95 | EA | 10337.9
5 | SWR10366 | 1.3 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location.Stringing 100sqmm 33/11kv Line 3 Cond SC | Electrical Work | Stringing of Work | As per relevent standard specification | 13856.7 | KM | 18013.71
6 | SWR10258 | 4.332 | LOADING of LINE MATERIALS of MS Scrap | Electrical Work | Loading of Work | As per relevent standard specification | 578 | TO | 2503.9
7 | SWR10576 | 4.332 | UNLOADING of LINE MATERIALS of MS Scrap | Electrical Work | Unloading of Work | As per relevent standard specification | 578 | TO | 2503.9
8 | SWR11874 | 200 | FABR-Arc Welding per 25mm thickness | Electrical Work | Fabrication of Work | As per relevent standard specification | 7 | EA | 1400
9 | SWR11875 | 50 | FABR-Gas Welding per 25mm thickness | Electrical Work | Fabrication of Work | As per relevent standard specification | 14 | EA | 700
10 | SMR11487 | 30 | S-MS Bolts & Nuts,Washers etc., | Electrical Work | Supply of Work | As per relevent standard specification | 91.25 | KG | 2737.5
11 | SWR10466 | 2 | Formation of Cut point for 33 KV Double circuit line excluding pole erection and stays Formation of 33kvline vertical cutpoint | Electrical Work | Erection of Work | As per relevent standard specification | 3198.72 | EA | 6397.44
12 | SWR10981 | 1 | Formation of Cut point for 33 KV Single Circuit line excluding pole erection and stays Horizontal Cut point for 33 KV line | Electrical Work | Erection of Work | As per relevent standard specification | 1791.12 | EA | 1791.12
13 | SWR10133 | 0.3 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S.Channels etc., by lorries. TRANSPORT OF STEEL 20 TO 30KM | Electrical Work | Transportation of Work | As per relevent standard specification | 476.33 | TO | 142.9
14 | SWR11862 | 2 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Transport of Cond Drum,VCBs >20 & <30Km | Electrical Work | Transportation of Work | As per relevent standard specification | 3691.38 | EA | 7382.76
15 | SWR22063 | 1.3 | Dismantling of 100 Sqmm AAA/ACSR Conductor Dismantling of 100 Sqmm conductor SC | Electrical Work | Dismantling of Work | As per relevent standard specification | 8274.75 | KM | 10757.18
16 | SWR12090 | 2 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders) Excvt Pit Hard w/o Blst 1.2Mx1.2Mx3.3M | Civil Work | Excavation of Work | As per relevent standard specification | 3592.95 | EA | 7185.9
17 | SWR11324 | 19 | Dismantling of Damaged Poles, not required and available in the middle of roads, transporting to stock point etc. Dismantle-RS Joists 175 x 85 mm | Electrical Work | Dismantling of Work | As per relevent standard specification | 1116 | EA | 21204
18 | SWR10509 | 2 | UNLOADING of LINE MATERIALS of Conductor drums | Electrical Work | Unloading of Work | As per relevent standard specification | 100 | EA | 200
19 | SWR10191 | 2 | LOADING of LINE MATERIALS of Conductor drums | Electrical Work | Loading of Work | As per relevent standard specification | 202 | EA | 404
20 | SWR12416 | 6 | LOADING of LINE MATERIALS of 33 & 11 KV Disc insulators | Electrical Work | Loading of Work | As per relevent standard specification | 2 | KI | 12
21 | SWR10631 | 6 | UNLOADING of LINE MATERIALS of 33 & 11 KV Disc insulator | Electrical Work | Unloading of Work | As per relevent standard specification | 2 | KI | 12
22 | SWR12402 | 1 | LOADING of LINE MATERIALS of 11 KV Metal parts | Electrical Work | Unloading of Work | As per relevent standard specification | 48 | BAG | 48
23 | SWR12421 | 1 | UNLOADING of LINE MATERIALS of 11 KV Metal parts Bag | Electrical Work | Unloading of Work | As per relevent standard specification | 48 | BAG | 48
24 | SWR10257 | 0.655 | LOADING of LINE MATERIALS of ACSR conductor scrap | Electrical Work | Loading of Work | As per relevent standard specification | 491.01 | TO | 321.61
25 | SWR10575 | 0.655 | UNLOADING of LINE MATERIALS of ACSR conductor scrap | Electrical Work | Unloading of Work | As per relevent standard specification | 491.01 | TO
25 | SWR10575 | 0.655 | UNLOADING of LINE MATERIALS of ACSR conductor scrap | Electrical Work | Loading of Work | As per relevent standard specification | 491.01 | TO | 321.61
| Schedule Cost. (Excluding GST) | [7 empty] | 561967.31
11KV line and LAB 580000625220030
26 | SWR10359 | 2 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height ERECT. OF LINES-Providing of RCC collar | Civil l Work | Providing of RCC Collar | As per relevent standard specification | 386 | EA | 772
27 | SWR10366 | 1.8 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location Stringing 100sqmm 33/11kv Line 3 Cond SC | Electrical Work | Stringing of Work | As per relevent standard specification | 13856.7 | KM | 24942.06
28 | SWR22065 | 1.4 | Dismantling of 11KV 34/55 sqmm SC | Electrical Work | Dismantling of Work | As per relevent standard specification | 4500 | KM | 6300
29 | SWR10467 | 4 | Formation of 11kvline vertical cutpoint | Electrical Work | Formation of 11kvline vertical cutpoint | As per relevent standard specification | 2241.76 | EA | 8967.04
30 | SWR10393 | 2 | Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete Erection of 11kv ABSwitch incl earthing | Electrical Work | Erection of Work | As per relevent standard specification | 3200 | EA | 6400
31 | SMR11483 | 4 | Supply of CI eath pipe with 80mm dia,2.0 M Length S-CI Pipe earthing 80mm dia 2.75m long | Electrical Work | Supply of Work | As per relevent standard specification | 2789 | EA | 11156
32 | SMR11485 | 60 | S-Earthing GI flat 25x3 mm incl material | Electrical Work | Earthing of Work | As per relevent standard specification | 105 | KG | 6300
33 | SWR10320 | 36 | Fabrication of materials including 2 coats of Red oxide painting Fab Back clamps with 50 x 6 mm MS Flat | Electrical Work | Fabrication of Work | As per relevent standard specification | 15 | EA | 540
34 | SMR11487 | 40 | Supply of earthing pipe with materials S-MS Bolts & Nuts,Washers etc., | Electrical Work | Transport Supply of Work | As per relevent standard specification | 91.25 | KG | 3650
35 | SWR10653 | 4 | Formation of Cut point for 11 KV Single Circuit line excluding pole erection and stays | Civil Work | UNLOADING of Work | As per relevent standard specification | 1435.81 | EA | 5743.24
36 | SWR10258 | 0.366 | LOADING of LINE MATERIALS of MS Scrap | Electrical Work | Loading of Work | As per relevent standard specification | 578.01 | TO | 211.5517
37 | SWR10576 | 0.366 | UNLOADING of LINE MATERIALS of MS Scrap | Electrical Work | Unloading of Work | As per relevent standard specification | 578.01 | TO | 211.5517
38 | SWR11743 | 1 | Dismantle-AB Swithces (all types) | Electrical Work | Dismantle of Work | As per relevent standard specification | 1281.38 | EA | 1281.38
39 | SWR10133 | 1.38 | Dismantle-AB Swithces (all types) | Electrical Work | Transport of Work | As per relevent standard specification | 476.34 | TO | 657.3492
40 | SWR11862 | 2 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control anels,current transformers, boosters, lightning arrestors, sulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Transport of Cond Drum,VCBs >20 & <30Km | Electrical Work | Transport of Work | As per relevent standard specification | 3691.38 | EA | 7382.76
41 | SWR22092 | 1.8 | survey line&cabl inc peg mark&tree clear | Civil Work | survey line&cabl inc | As per relevent standard specification | 765 | KM | 1377
42 | SWR23200 | 500 | Cut-Tree Branch(LT/11/33)&Trnsprt Debris | Civil Work | Cut-Tree Branch(LT/11/33)&Trnsprt Debris | As per relevent standard specification | 4 | EA | 2000
43 | SWR11040 | 10 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders Ex of Hard pit w/o blast 0.75X0.9X1.95M | Civil Work | Excavation of pits in hard rock | As per relevent standard specification | 990.68 | EA | 9906.8
44 | SWR10978 | 10 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation Errection of 11 M long PSCC pole | Electrical Work | Erection of Work | As per relevent standard specification | 4336.85 | EA | 43368.5
45 | SWR11180 | 10 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | Electrical Work | UNLOADING of Work | As per relevent standard specification | 431.97 | EA | 4319.7
46 | SMR11486 | 4 | Supply of earthing pipe with materials S-Earthing GI Wire No 8 incl mat | Electrical Work | Erection of Work | As per relevent standard specification | 105 | KG | 420
47 | SWR10356 | 10.5 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. Mass concreting of supports incl. cement | Civil Work | Mass concreting of Work | As per relevent standard specification | 6579 | M3 | 69079.5
48 | SWR10107 | 2 | Excavation of pits in all soils except hard rock requiring blasting EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | Civil Work | Excavation of Work | As per relevent standard specification | 700 | EA | 1400
49 | SWR20308 | 2 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | Electrical Work | Sub-transport of Work | As per relevent standard specification | 407.29 | EA | 814.58
50 | SWR10343 | 2 | ERECTION OF LINES-Erection of 9.1M Pole | Electrical Work | Erection of Work | As per relevent standard specification | 2400 | EA | 4800
51 | SWR10258 | 0.018 | LOADING of LINE MATERIALS of MS Scrap | Electrical Work | loading of Work | As per relevent standard specification | 577.78 | TO | 10.4
52 | SWR10576 | 0.018 | UNLOADING of LINE MATERIALS of MS Scrap | Electrical Work | Unloading of Work | As per relevent standard specification | 577.78 | TO | 10.4
| Schedule Cost. (Excluding GST) | [7 empty] | 222021.8126
DTRs & LT Line
53 | SWR21844 | 5 | RCC Column type DTR Plinth of size 1'X1'X13',topslab 5'x9'x9" & beam size 5'X9'X9" | Civil Work | RCC Column type DTR Plinth of Work | As per relevent standard specification | 25092 | EA | 125460
54 | SMR11482 | 15 | Supply of earthing pipe with materials S-CI Pipe earthing 100mm dia 2.75m long | Electrical Work | Supply of Work | As per relevent standard specification | 3486 | EA | 52290
55 | SMR11487 | 100 | Supply of earthing pipe with materials S-MS Bolts & Nuts,Washers etc., | Electrical Work | Supply of Work | As per relevent standard specification | 91.25 | KG | 9125
56 | SMR11485 | 150 | Supply of earthing pipe with materials S-Earthing GI flat 25x3 mm incl material | Electrical Work | Supply of Work | As per relevent standard specification | 105 | KG | 15750
57 | SWR10107 | 30 | Excavation of pits in all soils except hard rock requiring blasting EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | Civil Work | Excavation of Work | As per relevent standard specification | 700 | EA | 21000
58 | SWR11320 | 31 | Dismantling of Damaged Poles, not required and available in the middle of roads, transporting to stock point etc. Dismantle-9.1 M long PSCC pole | Electrical Work | Dismantling of Work | As per relevent standard specification | 948.09 | EA | 29390.79
59 | SWR11743 | 6 | Dismantling of all types of 33 kV AB switches | Electrical Work | Dismantling of Work | As per relevent standard specification | 1281.38 | EA | 7688.28
60 | SWR11745 | 6 | Dimantle-11KV HG Fuse Set incl earthing | Electrical Work | Dismantling of Work | As per relevent standard specification | 353.43 | SET | 2120.58
61 | SWR20102 | 6 | Erection of AB Switch and aligment complete Erection of 11kv TT type AB switch | Electrical Work | Erection of Work | As per relevent standard specification | 1813.49 | EA | 10880.94
62 | SWR10395 | 6 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc Erect. of 11kv HG Fuseset incl earthing | Electrical Work | Erection of Work | As per relevent standard specification | 740.52 | SET | 4443.12
63 | SWR10336 | 5 | Erection of CT operated meters for LV side of Distribution Transformers Erection of CT meter on LV side of DTRs | Electrical Work | Erection of Work | As per relevent standard specification | 900 | EA | 4500
64 | SWR10642 | 6 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. Fabricate&Paint-175x85/150x75mm RS Joist | Civil Work | Fabrication of Work | As per relevent standard specification | 512.55 | EA | 3075.3
65 | SWR10356 | 22.5 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. Mass concreting of supports incl. cement | Civil Work | Mass concreting of Work | As per relevent standard specification | 6579 | M3 | 148027.5
66 | SWR20070 | 5 | Dismantling of DTR plinth | Electrical Work | Dismantling of Work | As per relevent standard specification | 2008.13 | EA | 10040.65
67 | SWR22356 | 360 | Laying of 1Core XLPE 120Sqmm Cable | Electrical Work | Laying of Work | As per relevent standard specification | 20 | M | 7200
68 | SWR10674 | 10 | Erection of LT distribution box including laying of LT cable from distribution box to LT OH line and DTR to distribution box including earthing of distribution box and crimping of lugs connecting of jumpers etc Erection of LT distribution box | Electrical Work | Erection of Work | As per relevent standard specification | 1594.67 | EA | 15946.7
69 | SWR11319 | 25 | Dismantling of Damaged Poles, not required and available in the middle of roads, transporting to stock point etc. Dismantle-8.0 m long PSCC pole | Electrical Work | Dismantle of Work | As per relevent standard specification | 501.53 | EA | 12538.25
70 | SWR10705 | 1.7 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location. Stringing of LT 3ph line 5 condu(55sqmm) | Electrical Work | Stringiing of Work | As per relevent standard specification | 10190.82 | KM | 17324.394
71 | SWR11722 | 5 | Paiting of Structure code/DTR code and location name with yellow back gound and with black letters including cost of paint | Electrical Work | Painting of Work | As per relevent standard specification | 110 | EA | 550
72 | SWR11724 | 5 | Erection of DTR's including loading and Unloading DTR on the Structure/Plinth etc Erect- 3Ph DTR 160/250KVA | Electrical Work | Erection of Work | As per relevent standard specification | 1851.3 | EA | 9256.5
73 | SWR22065 | 1.2 | Dismantling of 11kV 34/ 55 Sqmm SC | Electrical Work | Dismantle of Work | As per relevent standard specification | 4500 | KM | 5400
74 | SWR20190 | 200 | Removing and Reconnection of LT Services | Electrical Work | Removing and Reconnection of LT Services | As per relevent standard specification | 44 | EA | 8800
75 | SWR10133 | 3.74 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) TRANSPORT OF STEEL 20 TO 30KM | Electrical Work | Mass concreting of Work | As per relevent standard specification | 476.34 | TO | 1781.5116
76 | SWR11862 | 2 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Transport of Cond Drum,VCBs >20 & <30Km | Electrical Work | Transportation of Work | As per relevent standard specification | 3691.38 | EA | 7382.76
77 | SWR20075 | 5 | Dismantling of LT Distribution box | Electrical Work | Dismantling of Work | As per relevent standard specification | 669.38 | EA | 3346.9
78 | SWR10320 | 54 | Fab Back clamps with 50 x 6 mm MS Flat | Civil Work | Fabrication of Work | As per relevent standard specification | 15 | EA | 810
79 | SWR10666 | 0.25 | Stringing of LT AB Cable Stringing of AB cable 3x70 + 1x16 + 1x50 | Electrical Work | Stringing of Work | As per relevent standard specification | 8450 | KM | 2112.5
80 | SWR11267 | 6 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation Erect-12Meter Box pole | Electrical Work | Erection of Work | As per relevent standard specification | 3901.37 | EA | 23408.22
81 | SWR10343 | 30 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation ERECTION OF LINES-Erection of 9.1M Pole | Electrical Work | Erection of Work | As per relevent standard specification | 2400 | EA | 72000
82 | SWR20308 | 30 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | Electrical Work | Transportation of Work | As per relevent standard specification | 407.29 | EA | 12218.7
83 | SWR10223 | 5 | LOADING of LINE MATERIALS of CT Metering boxes | Electrical Work | LOADING of work | As per relevent standard specification | 18 | EA | 90
84 | SWR10541 | 5 | UNLOADING of LINE MATERIALS of CT Metering boxes | Electrical Work | UNLOADING of Work | As per relevent standard specification | 18 | EA | 90
85 | SWR10204 | 12 | LOADING of LINE MATERIALS of R.S. Joists 175 x 85 mm | Electrical Work | LOADING of Work | As per relevent standard specification | 76 | EA | 912
86 | SWR10522 | 12 | UNLOADING of LINE MATERIALS of R.S. Joists 175 x 85 mm | Electrical Work | UNLOADING of Work | As per relevent standard specification | 50 | EA | 600
87 | SWR11236 | 360 | LOADING of LINE MATERIALS - LT Cable(XLPE) 1-core Drum all size | Electrical Work | LOADING of Work | As per relevent standard specification | 1 | M | 360
88 | SWR11237 | 360 | UNLOADING of LINE MATERIALS-LT Cable(XLPE)1-core Drum all siz | Electrical Work | UNLOADING of Work | As per relevent standard specification | 1 | M | 360
89 | SWR12406 | 6 | LOADING of LINE MATERIALS of 11 KV AB SWCH T.T.200/400 A | Electrical Work | LOADING of Work | As per relevent standard specification | 80 | EA | 480
90 | SWR10556 | 6 | UNLOADING of LINE MATERIALS of 11 KV AB SWCH Con 200/400 A | Electrical Work | UNLOADING of Work | As per relevent standard specification | 80 | EA | 480
91 | SWR10231 | 6 | LOADING of LINE MATERIALS of 11 KV HG Fuse Sets | Electrical Work | LOADING of Work | As per relevent standard specification | 18 | EA | 108
92 | SWR10549 | 6 | UNLOADING of LINE MATERIALS of 11 KV HG Fuse Sets | Electrical Work | UNLOADING of Work | As per relevent standard specification | 18 | EA | 108
93 | SWR11321 | 2 | Dismantling of Damaged Poles, not required and available in the middle of roads, transporting to stock point etc. Dismantle-11 Mtrs PSCC poles | Electrical Work | Dismantling of Work | As per relevent standard specification | 1896.18 | EA | 3792.36
94 | SWR21897 | 5 | Formation of Cut point for LT line excluding pole erection and stays for 3/4/5 wire Formation of LTCut point(Ver/ Hor)-1 ckt | Electrical Work | Formation of Cut point of Work | As per relevent standard specification | 938 | EA | 4690
95 | SWR11729 | 5 | Dismantle-3Ph DTR upto 160KVA | Electrical Work | Dismantle-of Work | As per relevent standard specification | 975.12 | EA | 4875.6
96 | SWR20550 | 5 | Dismantle LT CTs&meter from CT meter box | Electrical Work | Dismantle- of Work | As per relevent standard specification | 120 | EA | 600
97 | SMR12099 | 10 | Dismantling of Damaged Poles, not required and available in the middle of roads, transporting to stock point etc. Supply- I Hook | Electrical Work | Dismantle- of Work | As per relevent standard specification | 158 | EA | 1580
98 | SWR12099 | 10 | Supply and Erection of I Hook and Suspension Hook Erection- I Hook | Electrical Work | Supply of Work | As per relevent standard specification | 55 | EA | 550
99 | SWR10509 | 2 | UNLOADING of LINE MATERIALS of Conductor drums | Electrical Work | UNLOADING of Work | As per relevent standard specification | 100 | EA | 200
100 | SWR10191 | 2 | LOADING of LINE MATERIALS of Conductor drums | Electrical Work | LOADING of Work | As per relevent standard specification | 202 | EA | 404
101 | SWR10672 | 10 | Straight through joints of AB cable (each lead) Supply and ere Straight line Asmbly kits | Electrical Work | Straight through joints of AB cable | As per relevent standard specification | 1661 | EA | 16610
102 | SWR10640 | 6 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables Painting of RS Joist(1C RO, 2C Al.Paint) | Civil Work | Painting of Work | As per relevent standard specification | 1132 | EA | 6792
103 | SWR10258 | 0.481 | LOADING of LINE MATERIALS of MS Scrap | Electrical Work | LOADING of Work | As per relevent standard specification | 578 | TO | 278.018
104 | SWR10576 | 0.481 | UNLOADING of LINE MATERIALS of MS Scrap | Electrical Work | UNLOADING of Work | As per relevent standard specification | 578 | TO | 278.018
105 | SWR10257 | 0.271 | LOADING of LINE MATERIALS of ACSR conductor scrap | Electrical Work | Loading of Work | As per relevent standard specification | 491 | TO | 133.061
106 | SWR10575 | 0.271 | UNLOADING of LINE MATERIALS of ACSR conductor scrap | Electrical Work | UNLOADING of Work | As per relevent standard specification | 491 | TO | 133.061
107 | SWR10230 | 54 | LOADING of LINE MATERIALS of LT Three phase cross arms | Electrical Work | UNLOADING of Work | As per relevent standard specification | 3 | EA | 162
108 | SWR10548 | 54 | UNLOADING of LINE MATERIALS of LT Three phase cross arms | Electrical Work | UNLOADING of Work | As per relevent standard specification | 3 | EA | 162
109 | SWR10215 | 1 | LOADING of LINE MATERIALS of LT Shackle insulators | Electrical Work | Loading of Work | As per relevent standard specification | 26 | BAG | 26
110 | SWR10533 | 1 | UNLOADING of LINE MATERIALS of LT Shackle insulators | Electrical Work | UNLOADING of Work | As per relevent standard specification | 21 | BAG | 21
111 | SWR12400 | 2 | LOADING of LINE MATERIALS of LTPins | Electrical Work | LOADING of Work | As per relevent standard specification | 54 | BAG | 108
112 | SWR12420 | 2 | UNLOADING of LINE MATERIALS of LTPins | Electrical Work | UNLOADING of Work | As per relevent standard specification | 38 | BAG | 76
113 | SWR10619 | 1 | LOADING of LINE MATERIALS of LT Metal parts-Bag of 100nos | Electrical Work | LOADINGt of Work | As per relevent standard specification | 52 | BAG | 52
114 | SWR10633 | 1 | UNLOADING of LINE MATERIALS of LT Metal parts - bag of 100 | Electrical Work | UNLOADING of Work | As per relevent standard specification | 35 | BAG | 35
115 | SWR10214 | 4 | LOADING of LINE MATERIALS of LT Pin insulators | Electrical Work | LOADING of Work | As per relevent standard specification | 26 | BAG | 104
116 | SWR10532 | 4 | UNLOADING of LINE MATERIALS of LT Pin insulators | Electrical Work | UNLOADING of Work | As per relevent standard specification | 18 | BAG | 72
| Schedule Cost. (Excluding GST) | [7 empty] | 689190.7136
Loading
117 | SWR10206 | 0.74 | LOADING of LINE MATERIALS of MS Channel,Angles,Flats&Rods | Electrical Work | LOADING of Work | As per relevent standard specification | 221 |  | 163.54
118 | SWR10524 | 0.74 | UNLOADING of LINE MATERIALS of MS Channel,Angles,Flats&Rod | Electrical Work | Un Loading of Work | As per relevent standard specification | 185 |  | 136.9
Schedule Cost. (Excluding GST) | [8 empty] | 300.44
|  |  | Detailed Estimate for 33KV | [5 empty] | 561967.3
|  |  | 11KV line and LAB | [5 empty] | 222021.81
|  |  | DTRs & LT Line | [5 empty] | 689190.71
|  |  | Loading | [5 empty] | 300.44
|  |  | Total Schedule Cost. (Excluding GST) | [5 empty] | 1473480.26
|  |  | 18% GST | [5 empty] | 265226.4468
|  |  | Total Schedule Cost. (Including GST) | [5 empty] | 1738706.7068