## E-2025-07-05-01-02-001
Schedule (WBS No.E-2025-07-05-01-02-001)
E-Procurement Schedule proposal for M/s.Depot Manager TGSRTC<(>,<)>Medchal HT20053714<(>,<)>Estimate Proposal for extension of 33KV HT supply under Cat-IX for CMD 6000KVA with a CL of 9120KW to M/s. Depot Manager TGSRTC, Medchal Depot,Medchal for a CMD of 6000KVA with dedicated feeder from 132KV SS Medchal in Medchal Town Section of Medchal Sub Division of Medchal Division of Medchal Circle - Estimate submitted - Reg.
HT Mtering with 6-Pole structure
Sl.No. | SSR CODES | Estimate Quantity (Only figures) | Particulars | Work Type eg., Earth Work, Electrical works..etc., (Upto 200 Characters) | Item Short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | UOM (upto 50 Characters) | Amount INR (Upto 2 Decimals)
1 | SWR10108 | 8 | Excavation of pits in all soils except hard rock requiring blasting.11 Mtrs PSCC Poles/ Box poles 0.75 M x 0.9 M x 1.95 M (1.31 cum) | Excavation work | Excavation of work | As per relevent standard specification | 730 | EA | 5840
2 | SWR11267 | 6 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation-Box pole 12 Mtr | Erection work | Erection work | As per relevent standard specification | 3901.37 | EA | 23408.22
3 | SWR10640 | 14 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Erection work | Erection work | As per relevent standard specification | 1132 | EA | 15848
4 | SWR10204 | 14 | LOADING of R.S. Joists 175 x 85 mm | LOADING work | LOADING work | As per relevent standard specification | 76 | EA | 1064
5 | SWR10522 | 14 | UNLOADING of R.S. Joists 175 x 85 mm | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 50 | EA | 700
6 | SWR10356 | 4.32 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Including the cost of cement | Erection work | Erection work | As per relevent standard specification | 6579 | M3 | 28421.28
7 | SWR10642 | 14 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. | Fabrication work | Fabrication of work | As per relevent standard specification | 512.55 | EA | 7175.7
8 | SWR10133 | 6.6 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel,iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading )Above 20 KM and upto 30 KM | Transport work | Transport of work | As per relevent standard specification | 476.34 | TO | 3143.844
9 | SWR10869 | 3.1 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels,including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Fabrication work | Fabrication of work | As per relevent standard specification | 3426 | TO | 10620.6
10 | SMR40009 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | Erection work | Erection work | As per relevent standard specification | 2181 | TO | 6761.1
11 | SWR10877 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete. Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Erection work | Erection work | As per relevent standard specification | 851 | TO | 2638.1
12 | SMR40010 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete. (*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Erection work | Erection work | As per relevent standard specification | 1293 | TO | 4008.3
13 | SWR10879 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.(*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | Erection work | Erection of work | As per relevent standard specification | 482 | TO | 1494.2
14 | SWR10399 | 1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.Erection of 33kv CT s | Erection work | Erection of work | As per relevent standard specification | 1079 | SET | 1079
15 | SWR10401 | 1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.Erection of 33kv single phase PT s | Erection work | Erection of work | As per relevent standard specification | 1079 | SET | 1079
16 | SWR12271 | 3 | Erection of 33 KV AB Switch in already existing sub-stations (involving LCs) | Erection work | Erection of work | As per relevent standard specification | 5342.25 | EA | 16026.75
17 | SWR10200 | 6 | LOADING of 33/11 KV CTs/ PTs | LOADING work | LOADING work | As per relevent standard specification | 165 | EA | 990
18 | SWR10518 | 6 | UNLOADING of 33/11 KV CTs/ PTs | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 128 | EA | 768
19 | SWR10239 | 3 | LOADING of 33 KV AB SWCH Con 400/800 A | LOADING work | LOADING work | As per relevent standard specification | 126 | EA | 378
20 | SWR10557 | 3 | UNLOADING of 33 KV AB SWCH Con 400/800 A | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 79 | EA | 237
21 | SWR20177 | 1 | Meters HT - Erection of HT Metering Box incl box cost | Erection work | Erection of work | As per relevent standard specification | 5000 | EA | 5000
22 | SWR24843 | 1 | Meters HT - Erection of HT Trivector Meter | Erection work | Erection of work | As per relevent standard specification | 1000 | EA | 1000
23 | SWR10734 | 1 | Meters HT - Construction of Plinth HTTVR meter 0.6x0.3x0.9m | Erection work | Erection of work | As per relevent standard specification | 5202 | EA | 5202
24 | SWR10396 | 2 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc | Erection work | Erection of work | As per relevent standard specification | 880 | SET | 1760
25 | SWR20685 | 6 | Cement concrete 1:3:6 ration with 40 MML HBG metal including the cost of all materials and labour complete 1.8 x 1.8 x 0.75 cum for VCB Plinth | Erection work | Erection of work | As per relevent standard specification | 5160 | M3 | 30960
26 | SWR10460 | 1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.33 KV VCB with Control Panel | Erection work | Erection of work | As per relevent standard specification | 12500 | EA | 12500
27 | SMR11482 | 6 | Supply of earthing pipe with materials.CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | Supply work | Supply of work | As per relevent standard specification | 3486 | EA | 20916
28 | SMR11485 | 90 | Supply of earthing pipe with materials.GI Flat 25X3 mm | Supply work | Supply of work | As per relevent standard specification | 105 | KG | 9450
29 | SWR10359 | 6 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Earthing work | Earthing of work | As per relevent standard specification | 386 | EA | 2316
30 | SWR10357 | 6 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Earthing work | Earthing of work | As per relevent standard specification | 1234.2 | EA | 7405.2
31 | SWR10198 | 1 | LOADING of 33 KV VCBs&Panel boards | LOADING work | LOADING work | As per relevent standard specification | 1024 | EA | 1024
32 | SWR10516 | 1 | UNLOADING of 33 KV VCBs&Panel boards | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 1044.48 | EA | 1044.48
33 | SWR11862 | 2 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs,control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 20 Km and upto 30 Km with Lorry for each trip | Transport work | Transport of work | As per relevent standard specification | 3691.38 | EA | 7382.76
34 | SWR10919 | 166.7 | Fabrication and connecting to risers from earth mat to structures, equipment,marshalling boxes, electrical panels, PLCC panels, fencing posts etc.M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | Fabrication work | Fabrication of work | As per relevent standard specification | 41 | RMT | 6834.7
35 | SWR10920 | 31.9 | Laying of earth mat including excavation of trenches of depth 600mm, welding,connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication.75x 8mm MS Flat / GI Flat. | Earthing work | Earthing of work | As per relevent standard specification | 65 | RMT | 2073.5
36 | SWR10963 | 1 | Painting of Name Plates for any equipment | Erection work | Erection of work | As per relevent standard specification | 122 | EA | 122
37 | SWR11879 | 750 | Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in aready excavation trench including cost of providing single compress glands at both ends . | Erection work | Erection of work | As per relevent standard specification | 27 | M | 20250
38 | SWR23224 | 5.292 | Excavate-Pit for 33KV VCB | Excavation work | Excavation of work | As per relevent standard specification | 331 | M3 | 1751.652
39 | SMR11488 | 100 | Supply of earthing pipe with materials.GI Bolts & Nuts etc | Supply work | Supply of work | As per relevent standard specification | 117.5 | KG | 11750
40 | SMR40011 | 12 | Supply of clamps as per IS 5561- 1970 , 12mm thickness with Alluminum and Alluminum alloy conforming to A6 of IS 617 1994 & hot dip galvanised with Nuts &Bolts including spring washers conforming to IS 2633-1964, IS 1363-1967, IS1367-1961)Supply of Alluminum alloy T clamps conforming to A6 of IS 617, 4 bolted with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 "to suit for panther ACSR on all three ways /on one side and Zebra ACSR on take off side or any other combination for carrying 800 A current rating . | Supply work | Supply of work | As per relevent standard specification | 299 | EA | 3588
41 | SMR40021 | 18 | Supply of Alluminum alloy Pad clamps conforming to A6 of IS 617, 4 bolted with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 "to suit for twin panther ACSR/Zebra of pad size 100 X 100 X15mm for carrying 1200 A current rating . | Supply work | Supply of work | As per relevent standard specification | 284 | EA | 5112
42 | SWR10917 | 30 | Labour for Fixing of all types of clamps | Supply work | Supply of work | As per relevent standard specification | 65 | EA | 1950
43 | SWR10881 | 3 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.(*) Note:-The requirement of 2nd coat is to be justified by the concerned Divisional Engineer /Executive Engineer before execution of this work.Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Erection work | Erection of work | As per relevent standard specification | 142 | EA | 426
44 | SWR11771 | 1 | Erection of 24 V Battery along with charger including grouting,giving connections | Erection work | Erection of work | As per relevent standard specification | 1050 | EA | 1050
45 | SWR10404 | 26.7 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Stringing work | Stringing of work | As per relevent standard specification | 327.68 | M | 8749.056
46 | SWR10366 | 0.02 | Paving out and stringing of conductor by providing temporary stays, tensioning,sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location.100 Sqmm Single Circuit (3 Conductors) | Stringing work | Stringing of work | As per relevent standard specification | 13856.5 | KM | 277.13
47 | SWR10286 | 1 | LOADING of 24 V Battery with charger | LOADING work | LOADING of work | As per relevent standard specification | 46 | EA | 46
48 | SWR10860 | 10 | Supply & spreading of 20mm machine crushed metal (HBG)including cost of conveneyance of all materials, labour charges etc complete for finished item of work and directed by the engineer incharge | Supply work | Supply of work | As per relevent standard specification | 2113 | M3 | 21130
49 | SMR40070 | 10 | Supply of Danger boards with clamps | Supply work | Supply of work | As per relevent standard specification | 116 | EA | 1160
50 | SWR33403 | 50 | S&F MS Security Fencing Mesh (2"X2") | Supply work | Supply of work | As per relevent standard specification | 3210 | M2 | 160500
51 | SWR11425 | 2 | Fixing of 150 W HP SV Lamp /LED Lamp/ Induction Lamp/any other type yard lighting fixture | Supply work | Supply of work | As per relevent standard specification | 275 | SET | 550
52 | SMR40072 | 3 | Supply of LC Boards | Supply work | Supply of work | As per relevent standard specification | 116 | EA | 348
53 | SMR40068 | 3 | SupRubber mats( 6’x3’)size for indoorSS | Supply work | Supply of work | As per relevent standard specification | 1386 | EA | 4158
54 | SMR40073 | 2 | Supply of Gum Boots | Supply work | Supply of work | As per relevent standard specification | 693 | EA | 1386
55 | SMR24624 | 2 | S-Discharge Hse Pipe 50L Co2 FireExtgr | Supply work | Supply of work | As per relevent standard specification | 650 | EA | 1300
56 | SWR33041 | 27 | CRS Masonary CM(1:6) 2nd Sort | Supply work | Supply of work | As per relevent standard specification | 5829 | M3 | 157383
57 | SWR10604 | 1 | UNLOADING of 24 V Battery with charger | UNLOADING work | UNLOADING of work | As per relevent standard specification | 46 | EA | 46
58 | SWR10346 | 2 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.RS Joists 150x75/175 x 85 mm | Erection work | Erection of work | As per relevent standard specification | 1934 | EA | 3868
59 | SWR34179 | 6 | Hire-JCB to Level & Clear the Site | Civil work | Civil of work | As per relevent standard specification | 2200 | H | 13200
60 | SWR33015 | 10 | Excavation in Ordinary Soil | Civil work | Civil of work | As per relevent standard specification | 513 | M3 | 5130
61 | SWR33028 | 2.3 | PCC with 40mm Metal (1:4:8) | Civil work | Civil of work | As per relevent standard specification | 5556 | M3 | 12778.8
62 | SWR33030 | 0.5 | PCC with 20mm Metal (1:2:4) | Civil work | Civil of work | As per relevent standard specification | 6967 | M3 | 3483.5
63 | SWR33052 | 10.82 | S&Filling with Borrowed Gravel | Civil work | Civil of work | As per relevent standard specification | 715 | M3 | 7736.3
Total Amount | [8 empty] | 695779.172
33KV Main source from 132KV Medchal SS
1 | SWR22092 | 7.5 | survey line&cabl inc peg mark&tree clear | Civil work | Civil of work | As per relevent standard specification | 765 | KM | 5737.5
2 | SMR40070 | 2 | Supply of Danger boards with clamps | T&P Work | T&P of Work | As per relevent standard specification | 116 | EA | 232
3 | SMR22222 | 12 | Making of Outdoor/Indoor End Termination.Supply 33KV 3x400Sqmm Outdoor | Civil work | Civil of work | As per relevent standard specification | 4554 | EA | 54648
4 | SMR22223 | 52 | Making of Straight through joints.Supply of 33KV 3x400SQmm Straight Through Joint Kit | Civil work | Civil of work | As per relevent standard specification | 24151 | EA | 1255852
5 | SWR10382 | 52 | Making of Straight through joints. 33 KV 3x400 Sqmm Cable | Civil work | Civil of work | As per relevent standard specification | 5700.78 | EA | 296440.56
6 | SWR12004 | 250 | Raising of double run cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe)-DR 33KV 3x400sqmm UG Cb on support | Erection work | Erection of work | As per relevent standard specification | 323.85 | M | 80962.5
7 | SWR11980 | 6300 | Laying of XLPE UG cable Double Run including excavation of trench of size 600mm wide and 850mm for LT, 1050mm for 11 KV and 1200mm for 33 KV from road level and cable separation with machine cut bricks horizontally for every 3 meters ,providing of DWC/GI pipes wherever required depth is not acquired as per the instructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3feet depths and filling with sand 250mm above the cable and 50mm below the cable, laying of cable, placing 40mm shabad protective slabs, back filling the trench with earth, levelling and removing the debris from the site inluding the cost of lead and lift etc.. (Second cable laying cost not Included) depth of the trench LT-0.85 mts,-DR 33KV 3x400sqmm UG Cb CC/BT Compsr | Erection work | Erection of work | As per relevent standard specification | 1388.84 | M | 8749692
8 | SWR21903 | 6000 | Consultation charges for providing traffic diversions and meeting other exegencies for execution of work during late night hours and wee hours. | Erection work | Erection of work | As per relevent standard specification | 30 | M | 180000
9 | SWR11801 | 6000 | Consultation charges for pursuing with various Departments for obtaining required permissions for Road cutting and submission of necessry Documents, Drawings etc. | Erection work | Erection of work | As per relevent standard specification | 38.25 | M | 229500
10 | SWR10387 | 12 | Making of Outdoor/Indoor End ermination.Making 33 KV 3x400 Sqmm Cable Out Door/Indoor end termination | Erection work | Erection of work | As per relevent standard specification | 2764.76 | EA | 33177.12
11 | SMR40085 | 16 | Supply of RCC cable Joint markers/ Cable route markers of size 700 X 240 X 75 mm duly engraving with 5 mm thick letters , CPDCL 33000/11000 Cable/Cable joint fixing the 300mm below ground level and 400mm above ground level confirming to IS 5820 2001 | Supply work | Supply of work | As per relevent standard specification | 484 | EA | 7744
12 | SWR10924 | 8 | Providing of earthing with various types of earth electrodes.Excavation of earth pit, supply of cast iron pipe with flange on one end (as per ISS7181/86) of nominal dia 125mm and 2.75 meters long in side the pit including supply and fixing RCC collars 0.75 meter dia (OD), 50mm thick and 0.60meters long complete as per APTRANSCO standards | Earthing work | Eearthing of work | As per relevent standard specification | 9804 | EA | 78432
13 | SMR11485 | 50 | Supply of earthing pipe with materials. GI flat 25x3 mm incl material | Supply work | Supply of work | As per relevent standard specification | 105 | KG | 5250
14 | SWR10357 | 8 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Earthing work | Eearthing of work | As per relevent standard specification | 1234.2 | EA | 9873.6
15 | SMR40091 | 8 | Earthing of sub station.Supply of GI pipe 40 mm dia, 2 mtrs, 3mm thickness with bolts and nuts | Earthing work | Eearthing of work | As per relevent standard specification | 733 | EA | 5864
16 | SWR10356 | 1.05 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Including the cost of cement | Erection work | Erection of work | As per relevent standard specification | 6579 | M3 | 6907.95
17 | SWR10642 | 2 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. | Fabrication work | Fabrication of work | As per relevent standard specification | 512.55 | EA | 1025.1
18 | SWR10640 | 2 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Erection work | Erection of work | As per relevent standard specification | 1132 | EA | 2264
19 | SWR10204 | 2 | LOADING of R.S. Joists 175 x 85 mm | LOADING work | LOADING work | As per relevent standard specification | 76 | EA | 152
20 | SWR10522 | 2 | UNLOADING of R.S. Joists 175 x 85 mm | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 50 | EA | 100
21 | SWR23200 | 1000 | Cut-Tree Branch(LT/11/33)&Trnsprt Debris | Erection work | Erection of work | As per relevent standard specification | 4 | EA | 4000
22 | SWR21043 | 5 | Hring of Crane for mounting equipment | Civil work | Civil of work | As per relevent standard specification | 1260 | LS | 6300
23 | SWR11230 | 52 | Loading of - 11/33KV XLPE UG Cable for all sizes | LOADING work | LOADING work | As per relevent standard specification | 1024 | DR | 53248
24 | SWR11231 | 52 | Unloading of - -11/33KV XLPE UG Cable all sizes | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 1024 | DR | 53248
25 | SWR25089 | 16 | S&E-Smart RFID marker | Supply work | Supply of work | As per relevent standard specification | 2745 | EA | 43920
26 | SMR11609 | 200 | Cost of Pipes and slabs - 4" DWC pipe | Supply work | Supply of work | As per relevent standard specification | 759 | M | 151800
27 | SMR40078 | 1000 | Supply of 150 mm Hume pipe of class NP3 with compresive strength of 35N/mm2 for 28 days curing,barewall thickness of 30mm,1.25kG linear/meter and withstanding capability of 22.50KN/linear meter as per IS 458-1993. | Supply work | Supply of work | As per relevent standard specification | 303 | M | 303000
29 | SWR10988 | 6300 | Laying of - 2nd Cable in Excavated Trench | Supply work | Supply of work | As per relevent standard specification | 204.1 | M | 1285830
30 | SWR11001 | 2400 | HDD (Horizontal Directional Drilling) in normal soil.Laying of 33&11KV UG cable by HDD method with casing HDPE pipe of 160mm PN4 PE 80 as per IS4984 | Erection work | Erection of work | As per relevent standard specification | 6993 | M | 16783200
31 | SWR10114 | 2 | Excavation of pits in hard rock requiring blasting. (other than SS)12Mtrs/Spun Pole 0.92 M x 0.92 M x 2.3 M (3.0" x 3.0" x 7.6") | Excavation Work | Excavation of Work | As per relevent standard specification | 1963.5 | EA | 3927
32 | SWR10346 | 2 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.RS Joists 150x75/175 x 85 mm | Erection work | Erection of work | As per relevent standard specification | 1934 | EA | 3868
33 | SWR10731 | 1 | Const. of plinth for mount. new 5Way RMUs. | Erection work | Erection of work | As per relevent standard specification | 8000 | EA | 8000
34 | SWR11069 | 1 | Erection of 11KV 5 Way RMUs | Erection work | Erection of work | As per relevent standard specification | 2783.33 | EA | 2783.33
Total Amount | [8 empty] | 29706978.66
33KV Second source from Shanta Biotech
1 | SWR12004 | 150 | Raising of double run cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) - DR 33KV 3x400sqmm UG Cb on support | Erection work | Erection of work | As per relevent standard specification | 323.85 | M | 48577.5
2 | SWR11980 | 1500 | Laying of XLPE UG cable Double Run including excavation of trench of size 600mm wide and 850mm for LT, 1050mm for 11 KV and 1200mm for 33 KV from road level and cable separation with machine cut bricks horizontally for every 3 meters ,providing of DWC/GI pipes wherever required depth is not acquired as per the instructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3feet depths and filling with sand 250mm above the cable and 50mm below the cable, laying of cable, placing 40mm shabad protective slabs, back filling the trench with earth, levelling and removing the debris from the site inluding the cost of lead and lift etc.. (Second cable laying cost not Included) depth of the trench LT-0.85 mts,-DR 33KV 3x400sqmm UG Cb CC/BT Compsr | Excavation Work | Excavation of Work | As per relevent standard specification | 1388.84 | M | 2083260
3 | SWR10988 | 1500 | Lay-2nd Cable in Excavated Trench | Civil work | Civil of work | As per relevent standard specification | 204.1 | M | 306150
4 | SMR22222 | 10 | Making of Outdoor/Indoor End Termination.Supply 33KV 3x400Sqmm Outdoor | Civil work | Civil of work | As per relevent standard specification | 4554 | EA | 45540
5 | SMR22223 | 11 | Making of Straight through joints.Supply of 33KV 3x400SQmm Straight Through Joint Kit | Civil work | Civil of work | As per relevent standard specification | 24151 | EA | 265661
6 | SWR10382 | 11 | Making of Straight through joints. 33 KV 3x400 Sqmm Cable | Civil work | Civil of work | As per relevent standard specification | 5700.78 | EA | 62708.58
7 | SWR10387 | 10 | Making of Outdoor/Indoor End ermination.Making 33 KV 3x400 Sqmm Cable Out Door/Indoor end termination | End ermination Work | End ermination of Work | As per relevent standard specification | 2764.76 | EA | 27647.6
8 | SMR40078 | 500 | Supply of 150 mm Hume pipe of class NP3 with compresive strength of 35N/mm2 for 28 days curing,barewall thickness of 30mm,1.25kG linear/meter and withstanding capability of 22.50KN/linear meter as per IS 458-1993. | Supply Work | Supply of Work | As per relevent standard specification | 303 | M | 151500
9 | SWR10924 | 10 | Providing of earthing with various types of earth electrodes.Excavation of earth pit, supply of cast iron pipe with flange on one end (as per ISS7181/86) of nominal dia 125mm and 2.75 meters long in side the pit including supply and fixing RCC collars 0.75 meter dia (OD), 50mm thick and 0.60meters long complete as per APTRANSCO standards | Earthing work | Eearthing of work | As per relevent standard specification | 9804 | EA | 98040
10 | SWR10357 | 10 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Earthing work | Eearthing of work | As per relevent standard specification | 1234.2 | EA | 12342
11 | SWR10114 | 2 | Excavation of pits in hard rock requiring blasting. (other than SS)12Mtrs/Spun Pole 0.92 M x 0.92 M x 2.3 M (3.0" x 3.0" x 7.6") | Excavation Work | Excavation of Work | As per relevent standard specification | 1963.5 | EA | 3927
12 | SWR10640 | 2 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Erection work | Erection of work | As per relevent standard specification | 1132 | EA | 2264
13 | SWR10204 | 2 | LOADING of R.S. Joists 175 x 85 mm | LOADING work | LOADING work | As per relevent standard specification | 76 | EA | 152
14 | SWR10522 | 2 | UNLOADING of R.S. Joists 175 x 85 mm | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 50 | EA | 100
15 | SWR11230 | 11 | Loading of 11/33KV XLPE UG Cable for all sizes | LOADING work | LOADING work | As per relevent standard specification | 1024 | DR | 11264
16 | SWR11231 | 11 | Unloading of 11/33KV XLPE UG Cable all sizes | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 1024 | DR | 11264
17 | SWR10356 | 1.05 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Including the cost of cement | Erection work | Erection of work | As per relevent standard specification | 6579 | M3 | 6907.95
18 | SWR10346 | 2 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.RS Joists 150x75/175 x 85 mm | Erection work | Erection of work | As per relevent standard specification | 1934 | EA | 3868
Total Amount | [8 empty] | 3141173.63
4 pole structure at RTC depo ( Main Road)
1 | SWR10108 | 6 | Excavation of pits in all soils except hard rock requiring blasting.11 Mtrs PSCC Poles/ Box poles 0.75 M x 0.9 M x 1.95 M (1.31 cum) | Excavation Work | Excavation of Work | As per relevent standard specification | 730 | EA | 4380
2 | SWR11267 | 4 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation-12Meter Box pole | Erection work | Erection of work | As per relevent standard specification | 3901.37 | EA | 15605.48
3 | SWR10640 | 6 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Erection work | Erection of work | As per relevent standard specification | 1132 | EA | 6792
4 | SWR10204 | 10 | LOADING of R.S. Joists 175 x 85 mm | LOADING work | LOADING work | As per relevent standard specification | 76 | EA | 760
5 | SWR10522 | 10 | UNLOADING of R.S. Joists 175 x 85 mm | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 50 | EA | 500
6 | SWR10356 | 3.24 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Including the cost of cement | Erection work | Erection of work | As per relevent standard specification | 6579 | M3 | 21315.96
7 | SWR10642 | 6 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. | Fabrication Work | Fabrication of Work | As per relevent standard specification | 512.55 | EA | 3075.3
8 | SWR10133 | 5.6 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel,iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading )Above 20 KM and upto 30 KM | Transport Work | Transportof Work | As per relevent standard specification | 476.34 | TO | 2667.504
9 | SWR10869 | 3.1 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels,including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Fabrication Work | Fabrication of Work | As per relevent standard specification | 3426 | TO | 10620.6
10 | SMR40009 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | Erection work | Erection of work | As per relevent standard specification | 2181 | TO | 6761.1
11 | SWR10877 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Erection work | Erection of work | As per relevent standard specification | 851 | TO | 2638.1
12 | SMR40010 | 3.1 | (*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Erection work | Erection of work | As per relevent standard specification | 1293 | TO | 4008.3
13 | SWR10879 | 3.1 | (*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | Erection work | Erection of work | As per relevent standard specification | 482 | TO | 1494.2
14 | SWR12271 | 3 | Erection of 33 KV AB Switch in already existing sub-stations (involving LCs) | Erection work | Erection of work | As per relevent standard specification | 5342.25 | EA | 16026.75
15 | SWR10239 | 3 | LOADING of 33 KV AB SWCH Con 400/800 A | LOADING work | LOADING work | As per relevent standard specification | 126 | EA | 378
16 | SWR10557 | 3 | UNLOADING of 33 KV AB SWCH Con 400/800 A | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 79 | EA | 237
17 | SWR10396 | 2 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.33 KV LAS station/Line type including earthing | Erection work | Erection of work | As per relevent standard specification | 880 | SET | 1760
18 | SWR10404 | 26.7 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Erection work | Erection of work | As per relevent standard specification | 327.68 | M | 8749.056
19 | SWR10346 | 2 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.RS Joists 150x75/175 x 85 mm | Erection work | Erection of work | As per relevent standard specification | 1934 | EA | 3868
Total Amount | [8 empty] | 111637.35
4 pole structure at ITI College
1 | SWR10108 | 6 | Excavation of pits in all soils except hard rock requiring blasting.11 Mtrs PSCC Poles/ Box poles 0.75 M x 0.9 M x 1.95 M (1.31 cum) | Excavation Work | Excavation of Work | As per relevent standard specification | 730 | EA | 4380
2 | SWR11267 | 4 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation-12Meter Box pole | Erection work | Erection of work | As per relevent standard specification | 3901.37 | EA | 15605.48
3 | SWR10640 | 6 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Erection work | Erection of work | As per relevent standard specification | 1132 | EA | 6792
4 | SWR10204 | 10 | LOADING of R.S. Joists 175 x 85 mm | LOADING work | LOADING work | As per relevent standard specification | 76 | EA | 760
5 | SWR10522 | 10 | UNLOADING of R.S. Joists 175 x 85 mm | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 50 | EA | 500
6 | SWR10356 | 3.24 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Including the cost of cement | Erection work | Erection of work | As per relevent standard specification | 6579 | M3 | 21315.96
7 | SWR10642 | 6 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. | Fabrication Work | Fabrication of Work | As per relevent standard specification | 512.55 | EA | 3075.3
8 | SWR10133 | 5.6 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel,iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading )Above 20 KM and upto 30 KM | Transport Work | Transportof Work | As per relevent standard specification | 476.34 | TO | 2667.504
9 | SWR10869 | 3.1 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels,including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Fabrication Work | Fabrication of Work | As per relevent standard specification | 3426 | TO | 10620.6
10 | SMR40009 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | Erection work | Erection of work | As per relevent standard specification | 2181 | TO | 6761.1
11 | SWR10877 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Erection work | Erection of work | As per relevent standard specification | 851 | TO | 2638.1
12 | SMR40010 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.(*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Erection work | Erection of work | As per relevent standard specification | 1293 | TO | 4008.3
13 | SWR10879 | 3.1 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes,labour charges etc., complete.(*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | Erection work | Erection of work | As per relevent standard specification | 482 | TO | 1494.2
14 | SWR12271 | 3 | Erection of 33 KV AB Switch in already existing sub-stations (involving LCs) | Erection work | Erection of work | As per relevent standard specification | 5342.25 | EA | 16026.75
15 | SWR10239 | 3 | LOADING of 33 KV AB SWCH Con 400/800 A | LOADING work | LOADING work | As per relevent standard specification | 126 | EA | 378
16 | SWR10557 | 3 | UNLOADING of 33 KV AB SWCH Con 400/800 A | UNLOADING work | UNLOADINGwork | As per relevent standard specification | 79 | EA | 237
17 | SWR10396 | 2 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc.33 KV LAS station/Line type including earthing | Erection work | Erection of work | As per relevent standard specification | 880 | SET | 1760
18 | SWR10346 | 2 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation.RS Joists 150x75/175 x 85 mm | Erection work | Erection of work | As per relevent standard specification | 1934 | EA | 3868
19 | SWR10404 | 26.7 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Erection work | Erection of work | As per relevent standard specification | 327.68 | M | 8749.056
Total Amount | [8 empty] | 111637.35
|  | HT Mtering with 6-Pole structure |  | 695779.172
|  | 33KV Main source from 132KV Medchal SS |  | 29706978.66
|  | 33KV Second source from Shanta Biotech |  | 3141173.63
|  | 4 pole structure at RTC depo ( Main Road |  | 111637.35
|  | 4 pole structure at ITI College |  | 111637.35
|  | Total Amount |  | 33767206.162
|  | Gst@18% |  | 6078097.1092
|  | Total Amount |  | 39845303.2712