## SE RR Lines 18-19
SI.No | Name of the Work Order | Circle Name | capitalisation date | Capitalization Cost (Rs. Crores) | PCC Reference | FCC Reference
1 | Erec of 11kV Breaker at 33/11kV Nacharam | SE/RR LINES | 10.10.2018 | 0.06095 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
2 | Erec of 11kV Breaker at 33/11kV Cherlapa | SE/RR LINES | 27.08.2018 | 0.059127 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
3 | Erec of 33kV Line AB S/w's-Chandanagar(G | SE/RR LINES | 06.12.2018 | 0.017437 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
4 | Aug 3x8-1x8+2x12.5 mva at Chandanagar33/ | SE/RR LINES | 14.05.2018 | 1.4827 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
5 | Enh of 5MVA to 8MVA PTR at Techpark SS i | SE/RR LINES | 04.09.2018 | 0.00531 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
6 | Enhncmnt 2x8 to 2x12.5MVA Pupalaguda SS | SE/RR LINES | 17.04.2018 | 1.4149 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
7 | Erection of 11kV VCB at Uppal SS | SE/RR LINES | 30.05.2018 | 0.044553 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
8 | Prov HV breaker at Suraram ss | SE/RR LINES | 01.08.2018 | 0.10177 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
9 | prov HV breaker at JDM-II | SE/RR LINES | 01.08.2018 | 0.090821 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
10 | Erection of 33kV VCB at 33/11kV IIIT SS | SE/RR LINES | 17.05.2018 | 0.076492 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
11 | Prov HV breaker at Chandanagar ss | SE/RR LINES | 27.02.2019 | 0.084917 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
12 | Modification of bus bar at Sainikpuri SS | SE/RR LINES | 24.08.2018 | 0.0047281 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
13 | Enh of 8MVA to12.5MVA PTR-1 at Malkajgir | SE/RR LINES | 08.03.2019 | 1e-09 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
14 | Providing of 33kv Breakr for JDM-III fee | SE/RR LINES | 09.08.2018 | 0.060765 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
15 | Aug of PTR-I 5to8MVA Papireddy clny 33 | SE/RR LINES | 27.05.2018 | 0.00091174 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
16 | Aug PTR-I from 5-8MVA Nanakramguda ss | SE/RR LINES | 27.05.2018 | 0.0062057 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
17 | estimate for New 33KV VCB in Hayathnag | SE/RR LINES | 14.05.2018 | 0.18467 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
18 | Prov of battercharger at Nanakramgud ss | SE/RR LINES | 15.05.2018 | 0.060029 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
19 | Enhncmnt 2x8 to 1x12.5+1x8 MVA Upperpal | SE/RR LINES | 28.04.2018 | 0.74949 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
20 | AUG PTRs 2x8 to 2x12.5 MVA IJM(Rain tree | SE/RR LINES | 17.05.2018 | 1.405 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
21 | Prov of batter charger at Balajinagarss | SE/RR LINES | 15.05.2018 | 0.056002 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
22 | Estimate for Commissioning of SCADA Co | SE/RR LINES | 05.10.2018 | 2.0248 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
23 | Estimate for Commissioning of SCADA Co | SE/RR LINES | 28.08.2018 | 2.1732 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
24 | Estimate for Commisioning of SCADA Compa | SE/RR LINES | 05.11.2018 | 0.5912 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
25 | Estimate for Commissioning of SCADA Comp | SE/RR LINES | 05.11.2018 | 1.0802 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
26 | Estimate for Commissioning of SCADA Comp | SE/RR LINES | 28.08.2018 | 1.6238 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
27 | 3 No's HV VCB's at 33/11KV Mamidipally S | SE/RR LINES | 07.08.2019 | 0.30705 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
28 | 5 No.s HV VCB's &1No. In/out VCB at 33/ | SE/RR LINES | 07.08.2019 | 0.48092 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
29 | 3 No's VCB's at 33/11KV APPA SS | SE/RR LINES | 07.08.2019 | 0.24142 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
30 | Stringing of Addl bus bar at Nacharam SS | SE/RR LINES | 08.03.2019 | 0.0245 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
31 | Erection of 11kV VCB at Moulali SS | SE/RR LINES | 29.09.2018 | 0.050349 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
32 | Erection of 11kV VCB at Ushamullapudi SS | SE/RR LINES | 02.02.2019 | 0.057781 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
33 | Erec of 11kV Breaker at 33/11kV Kothagud | SE/RR LINES | 15.05.2018 | 0.057736 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
34 | Erec of 11kV Breaker at 33/11KV Kothagud | SE/RR LINES | 27.05.2018 | 0.043863 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
35 | Erec of 11KV Breaker at 33/11kV Kothagud | SE/RR LINES | 18.02.2019 | 0.050912 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
36 | Erec of 11kV Breaker at 33/11KV Nanakram | SE/RR LINES | 15.05.2018 | 0.050974 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
37 | Erec of 11kV Breaker at 33/11kV Chandana | SE/RR LINES | 15.05.2018 | 0.051616 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
38 | Erec of 11kV Breaker at 33/11kV Balajina | SE/RR LINES | 18.02.2019 | 0.062709 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
39 | E/S Refurbishment of 33/11KVLeninnagar. | SE/RR LINES | 07.08.2019 | 0.021677 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
40 | E/S Refurbishment of 33 /11KV CBIT SS. | SE/RR LINES | 27.09.2018 | 0.0083281 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
41 | E/S Refubishmnt of 33/11KV Nandanavanam | SE/RR LINES | 07.08.2019 | 0.017047 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
42 | E/S Refurbishment of 33/11KV M.D Pally S | SE/RR LINES | 07.08.2019 | 0.019512 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
43 | Erection of 11kV VCB at Ramanthapur SS | SE/RR LINES | 06.09.2018 | 0.052517 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
44 | Erection of 11kV VCB at Ramanthapur SS | SE/RR LINES | 01.06.2018 | 0.043403 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
45 | Erection of 11kV VCB at NGRI SS | SE/RR LINES | 30.05.2018 | 0.057911 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
46 | Erection of 11kV VCB at NGRI SS | SE/RR LINES | 30.05.2018 | 0.057642 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
47 | Prov of batteries at 33/11KV KPHB ss | SE/RR LINES | 18.02.2019 | 0.051995 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
48 | Estimate for Commissioning of SCADA Co | SE/RR LINES | 05.11.2018 | 0.6611 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
49 | E/S Refurbishment of 33/11KV NIRD S S. | SE/RR LINES | 07.08.2019 | 0.0046237 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
50 | Addl 5MVA PTR at 33/11kV Kowkoor SS | SE/RR LINES | 30.11.2018 | 0.036912 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
51 | Rev:2 No's VCBs at 33/11KV Leninnagar SS | SE/RR LINES | 06.06.2018 | 0.17754 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
52 | E/S Erection of 1 No. HV VCB Kattedan-2 | SE/RR LINES | 25.08.2018 | 0.1002 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
53 | prov of 33kV HV VCB at 33/11kV Gachibowl | SE/RR LINES | 23.05.2018 | 0.076455 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
54 | Master Earthing at 33/11kV Saket SS | SE/RR LINES | 27.08.2018 | 0.015509 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
55 | E/o 33KV ABS on Lanco feeder(220 KV Gach | SE/RR LINES | 14.05.2018 | 0.015299 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
56 | Earthing at Uppal SS on GC-1 & GC-2 | SE/RR LINES | 26.09.2018 | 0.00094628 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
57 | E/o 33KV 400sq mm XLPE spare cable at 22 | SE/RR LINES | 15.05.2018 | 0.013301 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
58 | Repl of battery charger at Gachibowli SS | SE/RR LINES | 15.05.2018 | 0.033799 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
59 | This Estimate Envisages for Conversion o | SE/RR LINES | 12.07.2018 | 0.1829 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
60 | This Estimate Envisages for Conversion o | SE/RR LINES | 12.07.2018 | 0.052021 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
61 | This Estimate is Revised and Envisages C | SE/RR LINES | 10.09.2018 | 0.12629 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
62 | This Estimate Envisages for Conversion o | SE/RR LINES | 10.09.2018 | 0.00086035 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
63 | E/o 33KV ABS on 33KV DLF(OH)2 feeder bre | SE/RR LINES | 28.09.2018 | 0.064696 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
64 | Errec of Tripole AB switch on 33kv Infos | SE/RR LINES | 23.05.2018 | 0.031479 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
65 | E/o 33KV 2 Nos ABS on My home feeder(220 | SE/RR LINES | 23.05.2018 | 0.018356 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
66 | E/o 33KV 2 Nos ABS on 33KV Madhapur inte | SE/RR LINES | 23.05.2018 | 0.018843 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
67 | Errec of Tripole AB switch on 33kv DLF-3 | SE/RR LINES | 23.05.2018 | 0.037718 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
68 | Errec of Tripole AB switch on 33kv DLF-3 | SE/RR LINES | 23.05.2018 | 0.042399 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
69 | Errec of Tripole AB switch on 33kv Infos | SE/RR LINES | 23.05.2018 | 0.0298 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
70 | Shifting of 33kV Moulali feeder line at | SE/RR LINES | 02.02.2019 | 0.020944 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
71 | Revised E/s New 2 No's HV VCB's Ibagh SS | SE/RR LINES | 14.05.2018 | 0.14957 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
72 | This revised Estimate Envisages for Conv | SE/RR LINES | 12.07.2018 | 0.09447 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
73 | This revised Estimate Envisages for Conv | SE/RR LINES | 12.07.2018 | 0.076188 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
74 | This revised Estimate Envisages for Conv | SE/RR LINES | 12.07.2018 | 0.12534 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
75 | This Revised Estimate Envisages for Conv | SE/RR LINES | 12.07.2018 | 0.058372 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
76 | This Estimate is Revised and Envisages C | SE/RR LINES | 10.09.2018 | 0.12344 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
77 | Ere of TripolABswitch on 33kv MY HOME fe | SE/RR LINES | 01.06.2018 | 0.032879 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
78 | Reconductring of 33kv Madhinaguda Feeder | SE/RR LINES | 09.01.2019 | 0.030408 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
79 | Renovation of PTR-II earthing for enhanc | SE/RR LINES | 26.09.2018 | 0.00051899 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
80 | Providing of 33kv Breaker for Infosys fe | SE/RR LINES | 14.05.2018 | 0.03349 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
81 | Providing of 33kv Breaker for 33KV DLF-3 | SE/RR LINES | 15.05.2018 | 0.03349 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
82 | E/s In<(>&<)>Out Arrangement 33kv MDPALY | SE/RR LINES | 04.07.2018 | 0.068361 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
83 | Estimate for Commissioning of SCADA Comp | SE/RR LINES | 05.11.2018 | 1.561 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
84 | Estimate for Commissioning of SCADA Comp | SE/RR LINES | 05.11.2018 | 0.86881 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
85 | Enh of 5MVA to 8MVA PTR-2 at Jagadgirigu | SE/RR LINES | 27.08.2018 | 0.0017921 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
86 | E/s for Providing of Earthing for 33Kv e | SE/RR LINES | 14.05.2018 | 0.010891 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
87 | Erection of Tripole AB switches on 33kv | SE/RR LINES | 23.05.2018 | 0.042038 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
88 | Erection of Tripole AB switch on 33kv La | SE/RR LINES | 23.05.2018 | 0.042248 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
89 | Prov of 33KV Breaker for 132KV Madhapur | SE/RR LINES | 14.05.2018 | 0.033438 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
90 | Earthing of newly erected IED Relays for | SE/RR LINES | 25.09.2018 | 0.0019125 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
91 | Earthing of newly erected IED Relays for | SE/RR LINES | 25.09.2018 | 0.0029601 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
92 | Earthing of newly erected IED Relays for | SE/RR LINES | 25.09.2018 | 0.0022617 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
93 | Earthing of newly erected IED Relays for | SE/RR LINES | 25.09.2018 | 0.0024369 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
94 | E/S Refurbishment 33/11KV Gandgamguda | SE/RR LINES | 04.09.2018 | 0.0057187 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
95 | Estimate for 220v Battery Bank at 33/11k | SE/RR LINES | 08.01.2019 | 0.020627 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
96 | Providing of Service charges for Replace | SE/RR LINES | 08.05.2018 | 0.0022393 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
97 | Earthing of newly erected IED Relays for | SE/RR LINES | 27.08.2018 | 0.0022976 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
98 | Earthing of newly erected IED Relays for | SE/RR LINES | 27.08.2018 | 0.0016479 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
99 | Earthing of newly erected IED Relays for | SE/RR LINES | 27.08.2018 | 0.0016481 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
100 | Earthing of newly erected IED Relays for | SE/RR LINES | 27.08.2018 | 0.0018106 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
101 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 02.08.2018 | 0.0028492 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
102 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 08.01.2019 | 0.015984 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
103 | This Estimate Envisages for Conversion | SE/RR LINES | 24.08.2018 | 0.045406 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
104 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 18.07.2018 | 0.020222 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
105 | E/S SCADA Eqpmnt earthing in Gaganpahad | SE/RR LINES | 08.05.2018 | 0.00256 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
106 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 18.07.2018 | 0.032835 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
107 | E/S for 2Nos AB switches on 33kv My Home | SE/RR LINES | 04.06.2018 | 0.010437 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
108 | E/s for Providing of Earthing for 33Kv e | SE/RR LINES | 01.06.2018 | 0.0085235 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
109 | E/o 33KV Line AB Switch on ICICI feeder( | SE/RR LINES | 04.06.2018 | 0.013246 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
110 | E/s for Providing of Earthing for 33Kv e | SE/RR LINES | 08.01.2019 | 0.0060134 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
111 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 02.08.2018 | 0.022025 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
112 | E/s for Mantanance of Jeedimetla-4 SS | SE/RR LINES | 01.08.2018 | 0.012277 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
113 | Erection of 1No.33KV VCB at 33/11kv Suba | SE/RR LINES | 01.08.2018 | 0.075708 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
114 | Erection of Tripole AB switch on 33kv IC | SE/RR LINES | 05.05.2018 | 0.04832 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
115 | Erection of Tripole AB switch on 33kv My | SE/RR LINES | 05.05.2018 | 0.04426 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
116 | Erection of 1No.33KV VCB at 33/11kv IIIT | SE/RR LINES | 05.05.2018 | 0.079979 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
117 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 02.08.2018 | 0.038637 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
118 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 02.08.2018 | 0.019314 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
119 | Report accompany the estimate for Constr | SE/RR LINES | 27.02.2019 | 0.046171 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
120 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 02.08.2018 | 0.026974 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
121 | Estimate envisages for refurbishment of | SE/RR LINES | 18.06.2018 | 0.012231 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
122 | Estimate for refurbishment of 11KV VCB's | SE/RR LINES | 18.06.2018 | 0.015634 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
123 | Estimate for complete refurbishment of A | SE/RR LINES | 01.08.2018 | 0.055263 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
124 | Revised Estimate for conversion & Refurb | SE/RR LINES | 01.08.2018 | 0.079701 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
125 | Estimate for refurbishment of 11KV VCB's | SE/RR LINES | 01.08.2018 | 0.066904 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
126 | 1 No. 33KVGC Breaker at NPA 33/11KV SS | SE/RR LINES | 06.01.2019 | 0.062792 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
127 | Revised estimate for refurbishment of 11 | SE/RR LINES | 04.06.2018 | 0.083083 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
128 | E/S: Raising of Balapur line road crosng | SE/RR LINES | 07.05.2018 | 0.0023704 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
129 | Enh.of PTR-I & II 8MVA to 12.5MVA Subash | SE/RR LINES | 01.08.2018 | 1.4316 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
130 | An estimate for Retrofitting of Complete | SE/RR LINES | 18.06.2018 | 0.035723 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
131 | Augumentation of PTR-3 at Jeedimetla-I S | SE/RR LINES | 29.09.2018 | 0.71167 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
132 | Augumentation of PTR-2 at Jeedimetla-I S | SE/RR LINES | 29.09.2018 | 0.67404 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
133 | E/S: Intermediate poles on Kat-Ch.gutta | SE/RR LINES | 07.05.2018 | 0.013979 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
134 | Estimate for refurbishment of 11KV vcb's | SE/RR LINES | 01.08.2018 | 0.050872 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
135 | Estimate for refurbishment of 11KV CGL m | SE/RR LINES | 03.06.2018 | 0.11602 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
136 | Stringing-33kV Bus+Modifi.-11kV Bus at Y | SE/RR LINES | 27.08.2018 | 0.0034756 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
137 | Erection of 11kV VCB at Mallapur SS | SE/RR LINES | 08.09.2018 | 0.043524 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
138 | Estimate for complete refurbishment of A | SE/RR LINES | 03.08.2018 | 0.072088 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
139 | 0 | SE/RR LINES | 14.05.2018 | 0.079296 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
140 | E/S for providing of LDMS workstation mo | SE/RR LINES | 08.01.2019 | 0.061787 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
141 | providing of 10 No.s 2KVA UPS and Printe | SE/RR LINES | 06.07.2018 | 0.088268 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
142 | Prov.16 No's 2KVA UPS and Printer-Habsig | SE/RR LINES | 07.02.2019 | 0.14123 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
143 | Prov.12 No's 2KVA UPS and Printer-SNKP | SE/RR LINES | 14.08.2018 | 0.10592 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
144 | E/S Refurbishment of 33/11KV Mamidipally | SE/RR LINES | 06.01.2019 | 0.011779 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
145 | Estimate for refurbish of vcb's at 33/11 | SE/RR LINES | 18.06.2018 | 0.011231 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
146 | Estimate for refurbishment of HV VCBÆs(o | SE/RR LINES | 03.08.2018 | 0.048709 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
147 | Report accompany the estimate for Supply | SE/RR LINES | 28.02.2019 | 0.0097823 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
148 | Report to accompany the estimate for Pro | SE/RR LINES | 28.02.2019 | 0.0048636 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
149 | Report to accompany the estimate for the | SE/RR LINES | 28.02.2019 | 0.0030823 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
150 | Report accompany the estimate: - Drillin | SE/RR LINES | 28.02.2019 | 0.010722 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
151 | REPORT ACCOMPANYING THE ESTIMATE | SE/RR LINES | 27.02.2019 | 0.0099688 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
152 | Estimate for refurbishment of 11vcb's in | SE/RR LINES | 01.08.2018 | 0.051375 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
153 | Estimate Refurbishment of VCB's in 33/11 | SE/RR LINES | 03.06.2018 | 0.052063 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
154 | Enhancement of 5 MVA to 8MVA PTR I & II | SE/RR LINES | 07.05.2018 | 0.50317 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
155 | This Estimate Envisages for Conversion | SE/RR LINES | 07.01.2019 | 0.090633 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
156 | Earthing-IED Relays+RTU's-Habsiguda Line | SE/RR LINES | 25.09.2018 | 0.013363 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
157 | Earthing-IED Relays+RTU's-Sainikpuri Lin | SE/RR LINES | 14.08.2018 | 0.013318 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
158 | E/s for providing of earthing of RTU's i | SE/RR LINES | 01.06.2018 | 0.0019461 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
159 | E/s for providing of earthing of RTU's a | SE/RR LINES | 01.08.2018 | 0.0028665 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
160 | 1 No interpole for the new 33KV feeder f | SE/RR LINES | 12.07.2018 | 0.0079636 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
161 | Balajinagar SS-Conver.to 220V Battery+C | SE/RR LINES | 30.11.2018 | 0.053947 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
162 | E/s SCADA Eqpmnt earthing in Lenin Nagar | SE/RR LINES | 08.05.2018 | 0.0013201 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
163 | Providing of 11Kv Bus coupler at NPA | SE/RR LINES | 07.05.2018 | 0.013482 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
164 | Construction of Plinth at 33/11KV Katted | SE/RR LINES | 08.05.2018 | 0.0097475 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
165 | Enh. of PTR-I 8MVA to 12.5MVA Vasanthapu | SE/RR LINES | 05.05.2018 | 0.70666 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
166 | E/S 1 no. tower on Ibrahimbagh feeder at | SE/RR LINES | 27.09.2018 | 0.024003 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
167 | Errec of Tripole AB switch on 33kv Micro | SE/RR LINES | 27.05.2018 | 0.041909 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
168 | Errec of Tripole AB switch on 33kv Micro | SE/RR LINES | 27.05.2018 | 0.041909 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
169 | Estimate for Earthing of IED Relay panel | SE/RR LINES | 08.01.2019 | 0.0086782 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
170 | Estimate for Earthing of IED Relay panel | SE/RR LINES | 15.05.2018 | 0.00074366 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
171 | Erec. & commisioning 48V DCPS-Habsiguda | SE/RR LINES | 26.09.2018 | 0.019969 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
172 | Erec. & commisioning 48V DCPS-Sainikpuri | SE/RR LINES | 05.10.2018 | 0.012481 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
173 | Estimate for Retrofitting of VCB mechani | SE/RR LINES | 12.07.2018 | 0.052889 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
174 | Erection & commissioning 48V DCPS -Katte | SE/RR LINES | 08.05.2018 | 0.0024961 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
175 | Erection & commissioning 48V DCPS Gaganp | SE/RR LINES | 08.05.2018 | 0.0024961 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
176 | Refurbishment of 33/11KV Puppalguda SS | SE/RR LINES | 05.09.2018 | 0.012385 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
177 | E/S: Restringing of 33KV Ibrahimbagh | SE/RR LINES | 27.09.2018 | 0.023093 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
178 | This Estimate (Indoor)Envisages for Refu | SE/RR LINES | 11.07.2018 | 0.011162 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
179 | Erection of TripolABswitch on 33kv TSI w | SE/RR LINES | 27.05.2018 | 0.041909 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
180 | Estimate for Earthing of IED Relay panel | SE/RR LINES | 28.09.2018 | 0.0025026 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
181 | Estimate for Earthing of IED Relay panel | SE/RR LINES | 15.05.2018 | 0.0019287 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
182 | Estimate for Earthing of IED Relay panel | SE/RR LINES | 23.05.2018 | 0.0033858 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
183 | This Estimate(Indoor) Envisages for Refu | SE/RR LINES | 02.08.2018 | 0.021744 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
184 | Prov of 33KV Breaker for Microsoft-2 fee | SE/RR LINES | 18.02.2019 | 0.033518 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
185 | Report accompany the estimate for Constr | SE/RR LINES | 11.02.2019 | 0.26475 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
186 | 33/11KV Kothapet SS | SE/RR LINES | 02.06.2018 | 0.031686 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
187 | Additional Estimate for New 5 MVA PTR at | SE/RR LINES | 08.05.2018 | 0.013852 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
188 | This Estimate Envisages for Refurbishmen | SE/RR LINES | 02.08.2018 | 0.039868 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
189 | Estimate for complete refurbishment of C | SE/RR LINES | 31.07.2018 | 0.024878 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
190 | Estimate for providing of 1 no 33KV AB | SE/RR LINES | 25.08.2018 | 0.015337 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
191 | Estimate for rectification of 33KV old f | SE/RR LINES | 06.10.2018 | 0.038345 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
192 | Erec. & commisioning 48V DCPS-Sainikpuri | SE/RR LINES | 05.10.2018 | 0.018608 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
193 | Erec. & commisioning 48V DCPS-Habsiguda | SE/RR LINES | 26.09.2018 | 0.021266 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
194 | Shifting of 33kV IG Mint and 33kV Cherla | SE/RR LINES | 06.02.2019 | 0.083799 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
195 | ere-M+ 6 on 33KV Bandlaguda OH Feeder | SE/RR LINES | 10.01.2019 | 0.019092 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I