## SE SCADA 18-19
SI.NO | Name of the Work Order | Circle Name | capitalisation date | Capitalization Cost (Rs. Crores) | PCC Reference | FCC Reference
1 | Shifting of two nos. rail poles on 33KV | SE/SCADA | 27.09.2018 | 0.0012088 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
2 | Prov bore motr pipline at Indira Prk SS | SE/SCADA | 25.10.2018 | 0.010516 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
3 | Prov., Control cables at Chanchalguda SS | SE/SCADA | 05.11.2018 | 0.043814 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
4 | imliban ss compound wall | SE/SCADA | 02.05.2018 | 0.015372 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
5 | Rect of33kv ABB indor VCBs@Nehrunagar SS | SE/SCADA | 14.08.2018 | 0.0096747 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
6 | Yousuf goda compound wall rising | SE/SCADA | 10.05.2018 | 0.020601 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
7 | Repl of 6Nos Changeover Switches(63Amps) | SE/SCADA | 25.08.2018 | 0.015214 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
8 | Prov of 33kV VCB on GCB@Karwan SS | SE/SCADA | 11.04.2018 | 0.063874 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
11 | Prov of 11KV Adarshnagar fdr VCB@HSSS | SE/SCADA | 12.04.2018 | 0.051533 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
13 | Erect of 33KV Bus copuler AB Swth@I'Park | SE/SCADA | 03.05.2018 | 0.014649 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
14 | Drilling new bore & Pump set Prashant na | SE/SCADA | 02.11.2018 | 0.010748 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
15 | Prov of 11KV Basheerbagh fdr VCB@HSSS | SE/SCADA | 10.05.2018 | 0.051775 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
17 | Prov of 11KV Puranapool fdr VCB@OSH SS | SE/SCADA | 17.07.2018 | 0.0439 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
21 | Prov of 11KV Military fdr VCB@ASNR SS | SE/SCADA | 10.05.2018 | 0.04762 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
24 | Prov of 11KV Hakeempet fdr VCB@ASNR SS | SE/SCADA | 12.04.2018 | 0.047261 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
26 | Prov of 11KV M'patnam OH fdr VCB@ASNR SS | SE/SCADA | 02.05.2018 | 0.04762 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
28 | Modification of 33kV Bus@GolcondaSS | SE/SCADA | 02.11.2018 | 0.14924 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
34 | Erect12.5MVA PTR,Rem8MVA SantoshNgrSS | SE/SCADA | 01.05.2018 | 0.015241 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
35 | Unload,Drag<(>&<)>Erec 12.5 MVA PTR H-12 | SE/SCADA | 28.04.2018 | 0.0086054 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
36 | Unload,Drag<(><<)>(>&<(><<)>)>Erec 12.5 | SE/SCADA | 28.04.2018 | 0.015934 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
37 | Repl. 3LVs-2 11KV VCBs of Malakpet SS | SE/SCADA | 07.09.2018 | 0.25357 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
45 | constr of sump at langar house | SE/SCADA | 09.05.2018 | 0.019906 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
46 | Erect12.5MVA PTR,Rem8MVA@Golkonda SS | SE/SCADA | 01.05.2018 | 0.013991 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
47 | Est. for SCADA CONTROL CENTRE SERVERS | SE/SCADA | 27.02.2019 | 0.96696 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
49 | Est. for DLP based VPS in SCADA Control | SE/SCADA | 27.02.2019 | 0.79458 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
50 | Est for UPS of 20KVA for SCADA/DMS serve | SE/SCADA | 28.02.2019 | 0.13913 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
51 | Estmt for T/F prot relays in MRT/South | SE/SCADA | 16.10.2019 | 1.0923 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
96 | Prov inter poles on 33KV I'bun-S'bagh fd | SE/SCADA | 17.07.2018 | 0.015263 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
97 | Prov bore motor pipe lines at Bh Rd12 SS | SE/SCADA | 30.08.2018 | 0.0073933 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
98 | Providing 1 No. RTU @33/11KV Zamistanpur | SE/SCADA | 07.05.2018 | 0.028835 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
99 | Prov.1No.RTU at 33/11 kv Ravindra Co-Op | SE/SCADA | 03.05.2018 | 0.028606 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
100 | Prov.1No.RTU at 33/11 KV Road No. 13 SS | SE/SCADA | 02.05.2018 | 0.028606 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
101 | Prov.1No.RTU at Prashasan nagar ss | SE/SCADA | 27.06.2018 | 0.028835 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
102 | Const damage compound wall@Hyderguda | SE/SCADA | 28.04.2018 | 0.016565 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
103 | Prov of 11KV LV-I fdr VCB@Karwan SS | SE/SCADA | 11.04.2018 | 0.052892 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
105 | unldng,drng,ldng<(>&<)>erectn12.5MVA @HS | SE/SCADA | 24.08.2018 | 0.019705 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
106 | unldng,drng<(>&<)>erectn12.5MVA @Salarju | SE/SCADA | 28.04.2018 | 0.018639 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
107 | Prov of 11KV LV-I fdr VCB@Langer House S | SE/SCADA | 11.04.2018 | 0.05397 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
109 | Prov of 11KV Defence colonyVCB@Langer Hz | SE/SCADA | 11.04.2018 | 0.046299 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
111 | Prov of 11KV Zinchi Chowrah VCB@S'Bagh | SE/SCADA | 12.04.2018 | 0.047291 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
113 | Prov of 11KV LV-II fdr VCB@Karwan SS | SE/SCADA | 11.04.2018 | 0.052939 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
115 | Refur of 11kV BHEL make breakers in Cen | SE/SCADA | 09.05.2018 | 0.063864 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
116 | Providing of GC Bypass at O.U. | SE/SCADA | 02.05.2018 | 0.020801 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
117 | cable trench,miscells work at chanchalgu | SE/SCADA | 30.08.2018 | 0.034021 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
118 | const compound wall@Asmangadh | SE/SCADA | 30.08.2018 | 0.026642 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
119 | Prov of earthing for IED relays in OSH S | SE/SCADA | 28.05.2018 | 0.0024596 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
120 | Extension of 11kV Bay at S'Bagh SS | SE/SCADA | 12.04.2018 | 0.027083 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
121 | Erect of 33KV Line AB swi HS-AC Gds Fdr | SE/SCADA | 25.08.2018 | 0.021594 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
123 | Laying of 70sqm AB Cable at Namp,ITI,AC | SE/SCADA | 17.07.2018 | 0.0057014 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
125 | drng,Load Trns,Unlng,Drg erc12.5 Tolicow | SE/SCADA | 28.04.2018 | 0.021008 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
126 | drng,Load Trns,Unlng,Drg erc12.5 M.Bhagh | SE/SCADA | 28.04.2018 | 0.0196 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
127 | drng,Load Trns,Unlng,Drg erc12.5 M.bolla | SE/SCADA | 27.04.2018 | 0.021456 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
129 | drng,Load,Trns,Unlng,Drg erc12.5 Gymkana | SE/SCADA | 27.04.2018 | 0.020443 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
130 | drng,Load Trns,Unlng,Drg erc12.5 Madapur | SE/SCADA | 28.04.2018 | 0.019327 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
131 | drng,Load Trns,Unlng,Drg erc12.5 C.katta | SE/SCADA | 27.04.2018 | 0.019369 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
132 | drng,Load,Trns,Unlng,Drg erc12.5 boraban | SE/SCADA | 28.04.2018 | 0.019834 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
133 | drng,Load Trns,Unlng,Drg erc12.5 IDPL | SE/SCADA | 27.04.2018 | 0.018902 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
134 | 11kV Bay Extension at Karwan SS | SE/SCADA | 29.08.2018 | 0.034048 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
138 | Erection of 1no.interpole on moulali-lal | SE/SCADA | 11.05.2018 | 0.0052793 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
139 | Rect of OLTCs for 8 MVA PTRs@Various SS | SE/SCADA | 03.05.2018 | 0.008496 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
140 | Rect of OLTCs for 8 MVA PTRs@Various SS | SE/SCADA | 03.05.2018 | 0.0077402 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
141 | Rect of OLTCs for 8 MVA PTRs@Various SS | SE/SCADA | 03.05.2018 | 0.0077402 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
142 | Rect of OLTCs for 8 MVA PTRs@Various SS | SE/SCADA | 03.05.2018 | 0.007786 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
143 | Rect of OLTCs for 8 MVA PTRs@Various SS | SE/SCADA | 03.05.2018 | 0.0038401 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
144 | Prov.8 No.2KVA UPS and Printer for NIMS | SE/SCADA | 02.05.2018 | 0.070634 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
146 | Est for Re Routing of 33KV DC OH Line (S | SE/SCADA | 02.05.2018 | 0.010725 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
148 | Repl, 3 33kV ABS & 1 11kV ABS Miralam SS | SE/SCADA | 20.11.2018 | 0.0164 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
151 | Provi.of 10 Nos 2KVA UPS&printers-RPN Se | SE/SCADA | 30.04.2018 | 0.088293 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
152 | Provi.of 11 Nos 2KVA UPS<(>&<)>printers- | SE/SCADA | 12.07.2018 | 0.098819 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
154 | Providing of earthing at 33/11KV HPS sub | SE/SCADA | 02.05.2018 | 0.0023122 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
156 | Providing of earthing at 33/11KV ALLWYN | SE/SCADA | 01.05.2018 | 0.00058123 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
157 | Providing 6 Nos.UPS and Printer Salarjun | SE/SCADA | 04.08.2018 | 0.048146 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
159 | Prov, 33kV BusCoupler at Kandikalgate SS | SE/SCADA | 27.12.2018 | 0.0072554 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
161 | Providing of 1No 33 KV VCB Prasanthnagar | SE/SCADA | 28.04.2018 | 0.066794 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
163 | Prov.1No.2KVA UPS and Printer for IDPL S | SE/SCADA | 28.04.2018 | 0.061805 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
164 | Prov earthing for IED relays@3 SS-G'Pur | SE/SCADA | 13.04.2018 | 0.0055775 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
165 | Prov earthing for IED relays@3 SS-ASNR S | SE/SCADA | 02.05.2018 | 0.0078321 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
166 | refur of 11kv &33kv diff.makes @I/D | SE/SCADA | 13.08.2018 | 0.036382 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
169 | Est for 33kv&11kv diff.make I/D. | SE/SCADA | 13.08.2018 | 0.035514 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
172 | Refur .of 11kv &33kv Diff.makes @O/D in | SE/SCADA | 13.08.2018 | 0.055409 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
174 | Refurbishment of 11kv &33kv Diff.makes @ | SE/SCADA | 13.08.2018 | 0.068885 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
179 | Providing of double earthing for PTRs at | SE/SCADA | 12.07.2018 | 0.0074929 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
180 | Prov, Earthing to IEDrelays @ S.Nagar SS | SE/SCADA | 17.07.2018 | 0.0020553 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
181 | Estimate for refurbishment for indoor br | SE/SCADA | 07.09.2018 | 0.068593 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
182 | Prov of Bus Coupler AB Swtch@Golconda SS | SE/SCADA | 13.04.2018 | 0.0026403 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
183 | Deparallel of Lalaguda SS | SE/SCADA | 24.08.2018 | 0.01814 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
185 | Unload & Dragging 12.5 MVA PTR MiralamSS | SE/SCADA | 28.04.2018 | 0.0088117 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
186 | unldng,drng n erectn12.5MVA @Chanchal SS | SE/SCADA | 28.04.2018 | 0.010063 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
187 | unldng,drng n erectn12.5MVA @O.U SS | SE/SCADA | 28.04.2018 | 0.016132 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
188 | Unlng<(>&<)>Drg 12.5 Kundanbagh SS. | SE/SCADA | 02.05.2018 | 0.0073418 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
189 | unldng,drng n erectn12.5MVA @IDPL SS | SE/SCADA | 02.05.2018 | 0.010492 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
190 | unldng,drng n erectn12.5MVA @Pra.nagr SS | SE/SCADA | 02.05.2018 | 0.01377 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
191 | Prov, of 33kV Stand-by to Bus @ CRPF SS | SE/SCADA | 20.12.2019 | 0.013558 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
192 | Unload & Dragging 12.5 MVA PTR SanthosSS | SE/SCADA | 28.04.2018 | 0.0088117 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
193 | Providing double earthing for PTRs @I.Ar | SE/SCADA | 14.05.2018 | 0.0084614 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
194 | Diversion of loads 33/11KV SS Vittalwadi | SE/SCADA | 13.08.2018 | 0.018133 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
197 | Prv earthing for IEDrelays @3SS S.JungSe | SE/SCADA | 07.07.2018 | 0.0024442 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
198 | Providing of 1No 33 KV VCB and 33 KV Bay | SE/SCADA | 04.08.2018 | 0.079913 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
202 | Est minor reprs of 33kV CGLmake@ MRT/Nor | SE/SCADA | 01.05.2018 | 0.037307 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
203 | Prov of earthing for IED relays in In.Ar | SE/SCADA | 14.05.2018 | 0.0076096 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
204 | Prov of earthing for IED relays in Chilk | SE/SCADA | 07.05.2018 | 0.0065415 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
205 | Prov of earthing for IED relays@Chilkalg | SE/SCADA | 07.05.2018 | 0.0072545 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
206 | Providing double earthing for PTRs @Chlk | SE/SCADA | 24.08.2018 | 0.011386 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
207 | Prov of earthing for IED relays @Ind.Ar | SE/SCADA | 14.05.2018 | 0.0090814 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
208 | Pro gate pillars<(>&<)>laying of CC ramp | SE/SCADA | 30.04.2018 | 0.02013 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
209 | prov addl earth pits at Golconda ss | SE/SCADA | 13.04.2018 | 0.0072735 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
210 | prov addl earth pits at ENT ss | SE/SCADA | 06.06.2018 | 0.010771 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
211 | Prov of addl earth pits at Goshamahal SS | SE/SCADA | 28.05.2018 | 0.010771 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
212 | Revise Est. Erct.of New 33KV VCB by Exte | SE/SCADA | 13.12.2018 | 0.21424 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
218 | Prov of addl earth pits at Osm Hospit SS | SE/SCADA | 28.05.2018 | 0.010771 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
219 | prov addl earth pits at Tolichowki ss | SE/SCADA | 13.04.2018 | 0.011495 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
220 | Lay RCC ramp,CPVC pip lin at Santhoshnag | SE/SCADA | 28.04.2018 | 0.019983 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
221 | Est for Spare parts for Auxiliary Power | SE/SCADA | 09.08.2018 | 0.01602 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
222 | Prov earthing for IED relays@4 SS-OSM Se | SE/SCADA | 28.05.2018 | 0.002642 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
223 | Estimate for DCPS in Chilkalguda Section | SE/SCADA | 07.05.2018 | 0.012481 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
224 | Providing of AC control Panal Chinna Tho | SE/SCADA | 03.05.2018 | 0.0075812 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
226 | providing PAINTING FOR NIMS SS | SE/SCADA | 01.05.2018 | 0.011559 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
227 | prov addl earth pits at Karwan ss | SE/SCADA | 12.04.2018 | 0.01083 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
228 | prov addl earth pits at Gudimalkapur ss | SE/SCADA | 12.04.2018 | 0.0064907 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
229 | prov addl earth pits at Seetarambagh ss | SE/SCADA | 12.04.2018 | 0.01083 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
230 | Drng n UnLdng 12.5MVA@Kancahn Bagh SS | SE/SCADA | 30.04.2018 | 0.014454 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
231 | Drag n Erec of 12.5MVA@Chandulal SS | SE/SCADA | 30.04.2018 | 0.01215 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
232 | Construction of Retaining wall,supply an | SE/SCADA | 07.05.2018 | 0.019801 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
233 | Providing of AC control Panal & coil B.P | SE/SCADA | 18.07.2018 | 0.01104 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
234 | Extension of 33KV Supply and Erection o | SE/SCADA | 17.07.2018 | 0.027141 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
235 | Prov, of 48V DCPS at 33/11kV SalarjungSS | SE/SCADA | 03.05.2018 | 0.0022692 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
236 | Supp& Installation of projector@SCADA | SE/SCADA | 30.08.2018 | 0.011738 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
237 | Name of the work: - Providing of barrowe | SE/SCADA | 01.05.2018 | 0.011551 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
238 | Revised estimate for shifting of 33KV Tr | SE/SCADA | 01.05.2018 | 0.076591 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
239 | Drng n UnLdng 12.5MVA@Ch Baradari SS | SE/SCADA | 30.04.2018 | 0.0081071 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
240 | Drag n Erec of 12.5MVA@Santosh Ngr SS | SE/SCADA | 30.04.2018 | 0.0086155 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
241 | Drng n UnLdng 12.5MVA@Miralam SS | SE/SCADA | 30.04.2018 | 0.01045 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
242 | Drng,UnLdng,erec 12.5MVA@Indutrial SS | SE/SCADA | 30.04.2018 | 0.010553 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
243 | Drgng,Ldng of 12.5MVA PTR@IDPL SS | SE/SCADA | 28.04.2018 | 0.006066 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
244 | Drgng,Ldng of 12.5MVA PTR@LV Prasad SS | SE/SCADA | 28.04.2018 | 0.014906 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
245 | Drag n Erec of 12.5MVA@Kundanbagh ss | SE/SCADA | 09.05.2018 | 0.0078866 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
246 | Drgng,Ldng of 12.5MVA PTR@kalyan nagarss | SE/SCADA | 04.05.2018 | 0.017711 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
247 | provg2HP submersib motor Asifnagar | SE/SCADA | 30.04.2018 | 0.016552 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
248 | Prov, of 48vDCPS atS.NagrSS inS.NagarSec | SE/SCADA | 30.04.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
249 | spread HBG metal in yard Goshmahal SCADA | SE/SCADA | 01.05.2018 | 0.007737 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
250 | Supply spreadHBG metalLaying CCRoad Hyd | SE/SCADA | 30.08.2018 | 0.010229 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
251 | Drgng,Ldng ,erec of 12.5MVA PTR@Borab SS | SE/SCADA | 28.04.2018 | 0.022128 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
252 | Erection of 48V DCPS at Karwan SS | SE/SCADA | 30.04.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
253 | Erection of 48V DCPS at Seetarambagh SS | SE/SCADA | 14.04.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
254 | Laying of CC Road Hussainsgr | SE/SCADA | 28.04.2018 | 0.020856 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
255 | StrengthencolumbeemsSultanbazacontroolro | SE/SCADA | 12.12.2019 | 0.10058 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
256 | Estm for 161nos.DMS feeders Modems | SE/SCADA | 28.02.2019 | 0.094667 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
257 | Prov, of 48vDCPS at5No'sSS @Ind.Ar Sec | SE/SCADA | 11.05.2018 | 0.013292 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
258 | Ere<(>&<)>comm of 48V DCPS at Begumpet & | SE/SCADA | 30.04.2018 | 0.0053166 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
259 | Erection and Commissioing of 48V DCPS. E | SE/SCADA | 12.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
260 | Erection of 33KVLine AB switches at ESI | SE/SCADA | 04.08.2018 | 0.022194 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
261 | Shifting of 33KV JS<(>&<)>AP DC Line at | SE/SCADA | 30.04.2018 | 0.051876 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
262 | Renovation of toilets at First floor SC | SE/SCADA | 01.05.2018 | 0.055878 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
263 | Prov of 1 No 33KV AB Switch@ S'Bagh SS | SE/SCADA | 14.04.2018 | 0.018669 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
264 | Prov of 33kV AB Switch @Seetarambagh SS | SE/SCADA | 14.04.2018 | 0.023217 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
265 | Shifting of existing 3 Nos 33KV UG Cable | SE/SCADA | 05.12.2018 | 0.020901 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
266 | Utilzn. of C.B on 3nos PTRs@Ind.Ar SS | SE/SCADA | 11.05.2018 | 0.024334 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
267 | Erection of 33KV Buscoupler at Allwyn SS | SE/SCADA | 30.04.2018 | 0.0082262 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
268 | Erection of 33KV Buscoupler at Begumpet | SE/SCADA | 30.04.2018 | 0.0086287 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
269 | Providing of Spun pole at Machabollaram | SE/SCADA | 17.07.2018 | 0.0089024 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
271 | Providing of 1No 33 KV VCB for IDPL -Pra | SE/SCADA | 02.05.2018 | 0.086652 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
273 | Laying and Re-ruting of 33KV XLPE UG Ca | SE/SCADA | 30.04.2018 | 0.024182 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
274 | Takeoff argmts of Repl. PTR-3 @Ind.ar SS | SE/SCADA | 01.05.2018 | 0.010125 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
275 | Deparallel of Chilkalguda SS | SE/SCADA | 13.07.2018 | 0.017258 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
277 | PVCstoragetanks Addaguta,Monda.bgpt MS | SE/SCADA | 01.05.2018 | 0.0063395 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
278 | S&Spred HBG metal SS Patigadda SS | SE/SCADA | 30.08.2018 | 0.021747 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
279 | Extention yard at Northeast cornorHKPT | SE/SCADA | 11.07.2018 | 0.034963 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
280 | Prov. toilets,shed RPNILAYAM33/11KVSS SC | SE/SCADA | 01.05.2018 | 0.054017 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
281 | Constr Compound wallin SW corneKalyanngr | SE/SCADA | 28.04.2018 | 0.019915 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
282 | Addl Est for Modifin of 33kV Bus@Gol SS | SE/SCADA | 30.10.2018 | 0.014353 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
284 | Addl est- 11kV BAy extension@S'Bagh,Karw | SE/SCADA | 29.08.2018 | 0.0070305 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
285 | Providing of 1No 33 KV VCB for PTR-3 at | SE/SCADA | 12.07.2018 | 0.06887 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
288 | : Providing of Medium mesh back hairs to | SE/SCADA | 29.08.2018 | 0.0054162 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
289 | Repl.of 800A old ABswitch to 800A D/B AB | SE/SCADA | 11.05.2018 | 0.021525 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
290 | Prov.33KV Bus coupler @33/11KV SS Bathuk | SE/SCADA | 11.05.2018 | 0.02079 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
291 | Diversion of Loads @33/11KV Chilkalguda | SE/SCADA | 04.08.2018 | 0.025758 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
294 | Various works and 33KV VCB O/G at MB SS | SE/SCADA | 26.05.2018 | 0.013146 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
295 | Erec.of AB Switch near Rly bridge | SE/SCADA | 26.05.2018 | 0.0077584 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
296 | Supply&pread HBG metaland fix 1HPmotor | SE/SCADA | 01.05.2018 | 0.021693 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
297 | Prov metal spreadSeetharambaghSS SCADA | SE/SCADA | 30.08.2018 | 0.021613 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
298 | Erect of Line AB switches on Erga-HSS fd | SE/SCADA | 11.05.2018 | 0.033067 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
300 | Repl of 1 No 33KV AB Swtch@ASNR SS | SE/SCADA | 02.05.2018 | 0.0041533 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
301 | S&FHBG metalinrd and otherHussainsagar | SE/SCADA | 11.04.2018 | 0.1104 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
302 | Construction electrical room at CMDQT | SE/SCADA | 30.08.2018 | 0.021523 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
303 | ProCPVC pipe line toiletsrepairFALAKNAMA | SE/SCADA | 01.05.2018 | 0.011436 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
304 | 33kV Bay Extension at Hussainsagar SS | SE/SCADA | 04.08.2018 | 0.08544 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
307 | Providing of AC control Panal & coil Beg | SE/SCADA | 31.05.2018 | 0.010906 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
308 | Takeoff argmts of Repl. PTR-1@Sultbzr SS | SE/SCADA | 02.05.2018 | 0.0077636 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
309 | Prov CPVC Pipeline earh pits,pmsgateNiza | SE/SCADA | 01.05.2018 | 0.0041346 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
310 | Erec<(>&<)>comm 48V DCPS at 2 No's SS in | SE/SCADA | 30.04.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
311 | Providing of Line AB at KIMS SS | SE/SCADA | 26.05.2018 | 0.037715 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
313 | Pro renova of false ceiling & painting | SE/SCADA | 28.04.2018 | 0.021357 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
314 | Prov Virtified Flooring DE/SCADA | SE/SCADA | 30.04.2018 | 0.021608 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
315 | Provbore well <(>&<)>other misc. civlKIM | SE/SCADA | 02.05.2018 | 0.020856 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
316 | Erection of 48V DCPS at Hussainsagar SS | SE/SCADA | 31.08.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
317 | Erection of 48V DCPS at Asifnagar SS | SE/SCADA | 12.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
318 | Erection of 48V DCPS at Tolichowki SS | SE/SCADA | 12.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
319 | Providing of 1No 33 KV VCB for HAL HT se | SE/SCADA | 30.04.2018 | 0.077941 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
321 | Metal spread@Kundanbagh in scada circle | SE/SCADA | 12.04.2018 | 0.021606 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
322 | Estimate for PTR -2 Earthinig at Banslal | SE/SCADA | 25.09.2018 | 0.0063468 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
324 | Const comp wal & yard reta wal Shivramra | SE/SCADA | 11.07.2018 | 0.018912 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
325 | Renova toilet DE/lines/ALLwyn | SE/SCADA | 01.05.2018 | 0.021486 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
326 | Erection of 48V DCPS at Langerhouse SS | SE/SCADA | 30.04.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
327 | Erection of 48V DCPS at Kulsumpura SS | SE/SCADA | 30.04.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
328 | Erection of 48V DCPS at Golkonda SS | SE/SCADA | 12.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
329 | Erection of 48V DCPS at Osmania Hospt SS | SE/SCADA | 07.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
330 | Erection of 48V DCPS at AC Guards SS | SE/SCADA | 07.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
331 | Erection of 48V DCPS at Exhibition SS | SE/SCADA | 07.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
332 | Erection of 48V DCPS at Nampally SS | SE/SCADA | 07.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
333 | Erection and Commissioing of 48V DCPS. | SE/SCADA | 12.07.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
334 | Erec&comm 48V DCPS at 2 No's AP&BSPet | SE/SCADA | 12.07.2018 | 0.0053166 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
335 | Erection of 48V DCPS at Lake View SS | SE/SCADA | 30.05.2018 | 0.0026583 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
336 | Estimate for PTR -1 Earthinig at PG | SE/SCADA | 25.09.2018 | 0.0063468 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
338 | Prg CVR new Mad pumpfloodwaterAttapur | SE/SCADA | 28.04.2018 | 0.020134 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
339 | Constrof Transfermer Plinth O/O SE/SCADA | SE/SCADA | 12.04.2018 | 0.0098596 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
340 | Providing of IED Earthing at 33/11KV GR | SE/SCADA | 30.04.2018 | 0.0038952 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
341 | Providing of IED Earthing at 33/11KV AP | SE/SCADA | 29.05.2018 | 0.0042616 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
342 | Enhancement of PTR at Chilkalguda SS. | SE/SCADA | 09.05.2018 | 0.72638 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
344 | Prov- HV-3 new 33 KV VCB at Gymkhana S | SE/SCADA | 21.02.2019 | 0.073627 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
348 | General: Estimate for PTR-3 Enhancement | SE/SCADA | 09.05.2018 | 0.71563 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
349 | E/S for Prov. of 33KV VCB (HV Breakar) | SE/SCADA | 16.07.2018 | 0.083611 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
353 | ProvgTelephone&LAN Electr points SCADA | SE/SCADA | 30.04.2018 | 0.021465 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
354 | Power supply cables to Generator SCADA c | SE/SCADA | 07.05.2018 | 0.021548 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
355 | Provg CVR pumps (udpump) in ATTAPURSS | SE/SCADA | 30.08.2018 | 0.021761 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
356 | Providing of 1No.s 33kV VCB as Incomer B | SE/SCADA | 29.10.2018 | 0.067329 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
359 | Providing of 1No.s 33kV VCB as Incomer B | SE/SCADA | 29.10.2018 | 0.066992 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
362 | E/S for Prov. of 33KV VCB &33KV Bay at 3 | SE/SCADA | 16.07.2018 | 0.088888 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
366 | Prov, of 48VDCPS at2No'sSS @SalarjungSec | SE/SCADA | 07.07.2018 | 0.0053166 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
367 | E/S for Prov. of 33KV VCB (HV Breakar) | SE/SCADA | 10.07.2018 | 0.086177 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
371 | Erection of DP Structere and Line AB Sw | SE/SCADA | 04.07.2018 | 0.012855 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
372 | Prov Accomoda newly fromed DE/SCADA/DM | SE/SCADA | 01.05.2018 | 0.021717 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
373 | Enhan PTR-I frm 8 to 12.5MVA @ MOTHIMAH | SE/SCADA | 10.05.2018 | 0.71956 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
375 | Pro SWG Pipe line,sup arrgemen at Allwyn | SE/SCADA | 01.05.2018 | 0.020022 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
376 | Drgng,Ldng ,erec of 12.5MVA PTR@LV PRASS | SE/SCADA | 02.05.2018 | 0.0097113 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
377 | S<(>&<)>Ren toilet, laying drainageline | SE/SCADA | 28.04.2018 | 0.019274 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
378 | Dismantling and re-erection of Capacitor | SE/SCADA | 30.04.2018 | 0.011292 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
379 | Estimate for PTR -2 Earthinig at MB | SE/SCADA | 30.04.2018 | 0.0050797 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
380 | Dismantling & re-erection of Capacitor b | SE/SCADA | 09.07.2018 | 0.0092886 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
381 | Providing of 1No 33kV ABSwitch@AC Gds SS | SE/SCADA | 25.08.2018 | 0.0043754 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
382 | Unldng,Drag<(>&<)>Erec of 12.5MVA@ HALSS | SE/SCADA | 03.05.2018 | 0.013953 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
383 | Drag raisn Erec of 12.5MVA@HAL ss | SE/SCADA | 03.05.2018 | 0.014238 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
384 | Unldng,Drag,Erec of 12.5MVA@ MADHAPUR SS | SE/SCADA | 03.05.2018 | 0.012529 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
385 | Unlod,Drg & Erec of 12,5 MVA @ Mothimah | SE/SCADA | 24.08.2018 | 0.013795 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
386 | Drgng,Ldng,transof 12.5MVA PTR@HAL SS | SE/SCADA | 03.05.2018 | 0.011778 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
387 | Remv,Dism<(>&<)>Dragof 12.5MVA PTR@HAL S | SE/SCADA | 03.05.2018 | 0.0080422 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
388 | Drag & Load of 12.5 mva @ Mothimahal ss | SE/SCADA | 24.08.2018 | 0.011778 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
389 | Drgng,Ldng,transof 12.5MVA PTR@MADHAP SS | SE/SCADA | 03.05.2018 | 0.011778 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
390 | Drgng,Ldng,transof 12.5MVA PTR@M.BOLLA S | SE/SCADA | 03.05.2018 | 0.011778 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
391 | Pro of Fire Alarm system at DMS Room | SE/SCADA | 12.04.2018 | 0.018554 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
392 | Unlod,Drg & Erect of 12,5 MVA @ Batkmknt | SE/SCADA | 24.08.2018 | 0.015789 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
393 | Drag raisn Erec of 12.5MVA@IDPL ss | SE/SCADA | 03.05.2018 | 0.017581 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
394 | Drag & Load of 12.5 mva @ Bathukamknt ss | SE/SCADA | 24.08.2018 | 0.011778 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
395 | Drag & Load of 12.5 mva @ Chilkalguda ss | SE/SCADA | 29.08.2018 | 0.011778 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
396 | Unldng,Drag,Erec of 12.5MVA@M.Bollara SS | SE/SCADA | 03.05.2018 | 0.014649 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
397 | Unlod,Drg & Erec of 12,5 MVA @ Chilkalgu | SE/SCADA | 29.08.2018 | 0.015504 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
398 | Pro Accomodation DE/Tech/SCADA | SE/SCADA | 28.04.2018 | 0.021439 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
399 | Erection of DP structere,Line AB Switch | SE/SCADA | 16.07.2018 | 0.015891 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
401 | Erection of DP structere,Line AB Switch. | SE/SCADA | 04.07.2018 | 0.012869 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
403 | Erection of DP Structere and Line AB Sw | SE/SCADA | 16.07.2018 | 0.029534 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
405 | unldg,drag<(>&<)>Erec of 12.5MVA@Tirumal | SE/SCADA | 10.08.2018 | 0.0068519 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
406 | Providing Addl.earthing to Film Nagar Su | SE/SCADA | 12.07.2018 | 0.012875 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
407 | Construction of balance portion of retai | SE/SCADA | 12.04.2018 | 0.021666 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
408 | Construction of balance portion of retai | SE/SCADA | 30.08.2018 | 0.021683 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
409 | Renov of toilets at hussainsagrSS | SE/SCADA | 12.04.2018 | 0.019457 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
410 | Manufacture and fixing of RCC cable tren | SE/SCADA | 12.07.2018 | 0.02047 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
411 | Providing of balance portion of MS inte | SE/SCADA | 31.08.2018 | 0.020411 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
412 | Providing of Electrification,FlushAmbrpt | SE/SCADA | 12.04.2018 | 0.019963 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
413 | Enhancement PTR2@33/11KV Machabollram ss | SE/SCADA | 09.07.2018 | 0.7175 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
415 | Leveling of switch yard, Supply and spre | SE/SCADA | 12.04.2018 | 0.01795 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
416 | Providing Aluminium partitions to accoun | SE/SCADA | 30.08.2018 | 0.021358 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
417 | Enhancement PTR II@33/11KV Thirumalagiri | SE/SCADA | 04.09.2018 | 0.7335 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
421 | Pro kirby sheets at Chanchalguda sub-st | SE/SCADA | 11.07.2018 | 0.02118 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
422 | Pro metal spreading Chanchalguda sub-sta | SE/SCADA | 11.07.2018 | 0.021393 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
423 | S & spread of HBG metal RP nilayam | SE/SCADA | 11.07.2018 | 0.019906 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
424 | S&Spread HBG metal Durganagar SCADA | SE/SCADA | 11.07.2018 | 0.019139 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
425 | Erec. of 1No 33 KV VCB for incomer o | SE/SCADA | 17.07.2018 | 0.065233 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
428 | Prov toilets in 33/11KVSS Prashanthnagar | SE/SCADA | 11.07.2018 | 0.017619 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
429 | Est for Removal of 33kv DP Structure and | SE/SCADA | 07.07.2018 | 0.03002 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
430 | Estimate for Removal of 33kv DP Structur | SE/SCADA | 24.07.2018 | 0.034681 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
432 | Est for Removal of 33kv DP Structure and | SE/SCADA | 24.07.2018 | 0.038571 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
434 | E/S for providing alternate 33KV Source. | SE/SCADA | 16.07.2018 | 0.27956 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
439 | E/S for Providing of 33 KV HV Breaker at | SE/SCADA | 16.07.2018 | 0.081027 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
443 | Re Estimate Providing of 1No 33 KV VCB a | SE/SCADA | 09.08.2018 | 0.0088291 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
444 | Re-routing of 33KV Gunrock-ChinnaThokatt | SE/SCADA | 18.07.2018 | 0.020467 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
445 | Re-routing of 33KV Gunrock-Marredpally ( | SE/SCADA | 17.07.2018 | 0.015685 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
446 | Re-routing of 33KV Gunrock- Malkajgiri- | SE/SCADA | 17.07.2018 | 0.015718 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
447 | Laying CPVC pipeline, Supply of HBG | SE/SCADA | 11.07.2018 | 0.020921 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
448 | Report accompany estimateSupply an | SE/SCADA | 11.07.2018 | 0.018277 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
449 | Replacement of 33KV Airport and James St | SE/SCADA | 18.07.2018 | 0.011665 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
450 | Re-routing of 33KV Gunrock-MarredPally(O | SE/SCADA | 17.07.2018 | 0.012761 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
451 | Re-routing of 33KV Gunrock-Bhudevinagar | SE/SCADA | 17.07.2018 | 0.020791 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
452 | Re-routing of 33KV Gunrock-Airport feede | SE/SCADA | 18.07.2018 | 0.015649 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
453 | Re-routing of 33KV Gunrock-MachaBollaram | SE/SCADA | 18.07.2018 | 0.020908 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
454 | E/S for painting of fencing and white wa | SE/SCADA | 13.08.2018 | 0.01005 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
455 | E/S for variousCPVC works for watering o | SE/SCADA | 12.07.2018 | 0.0098412 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
456 | E/S for various construction works at 33 | SE/SCADA | 16.07.2018 | 0.012606 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
457 | E/S for coping,concreting,repair of fenc | SE/SCADA | 12.07.2018 | 0.0099379 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
458 | E/S for miscellaneous work items various | SE/SCADA | 12.07.2018 | 0.016699 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
459 | E/S for Re-routing of 33KV Gunrock-Airpo | SE/SCADA | 17.07.2018 | 0.015586 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
460 | E/S for Re-routing of 33KV Gunrock-Malka | SE/SCADA | 18.07.2018 | 0.015802 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
461 | Reports accompany the estimate | SE/SCADA | 11.07.2018 | 0.021601 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
462 | Providing painting petlaburz at33/11kvss | SE/SCADA | 11.07.2018 | 0.013707 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
463 | E/S for Dismantling of M type Tower at n | SE/SCADA | 10.09.2018 | 0.003437 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
464 | E/S for Providing of Addl.earthing to Pr | SE/SCADA | 04.09.2018 | 0.01226 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
465 | E/S for Providing of Addl.earthing to 33 | SE/SCADA | 05.09.2018 | 0.01331 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
466 | Executive chair with High back relon bla | SE/SCADA | 29.08.2018 | 0.0073132 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
467 | Erec. 1No.33kV ABS forGC VCB @ Ch.BdriSS | SE/SCADA | 17.12.2018 | 0.0067156 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
468 | Enhancement of PTR1@33/11KV RP Nilayam | SE/SCADA | 29.11.2018 | 0.7386 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
470 | Enhancement PTR3@33/11KV Gymkhana ss | SE/SCADA | 28.11.2018 | 0.7386 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
472 | Enhance.1no. 8-12.5 MVA PTR-I@ 33/11KV B | SE/SCADA | 10.08.2018 | 0.73488 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
473 | Enhance.1no. 8-12.5 MVA PTR-III@ 33/11KV | SE/SCADA | 03.12.2018 | 0.73488 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
474 | Providing of 33kv Bus coupler and separa | SE/SCADA | 04.09.2018 | 0.0068764 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
475 | E/S For shifting of 33 KV BOX pole oppos | SE/SCADA | 29.10.2018 | 0.00050169 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
476 | Estimate for PTR-III Enhancement 8 MVA t | SE/SCADA | 04.08.2018 | 0.73488 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
477 | Est for Supl of brkr contl equip @mrt/no | SE/SCADA | 27.02.2019 | 0.0073012 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
478 | E/S for Erection of 33KV VCB on 33kv Err | SE/SCADA | 05.12.2018 | 0.084906 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
482 | Enhn,of PTR-III to 12.5MVA@ Vittalwadi S | SE/SCADA | 27.11.2018 | 0.74971 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
486 | Renov of PTR-1 Plinth at RP Nilayam SS | SE/SCADA | 21.02.2019 | 0.0080914 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
487 | Erec. 1no. 33KV VCB for bifurication of | SE/SCADA | 22.12.2018 | 0.11091 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
492 | E/S for providing of Addl. earthing to P | SE/SCADA | 29.10.2018 | 0.030385 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
493 | General: Estimate for enhancement of PTR | SE/SCADA | 25.09.2018 | 0.73713 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
494 | Rem,Drgn<(>&<)>Dsmt of FLD 12.5MVA@ TRM | SE/SCADA | 07.01.2019 | 0.0074331 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
495 | Unldng,Drag,Erec of 12.5MVA@kalyan nagar | SE/SCADA | 07.01.2019 | 0.012844 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
496 | Unldng,Drag,Erec of 12.5MVA@ TRMLGRI SS | SE/SCADA | 07.01.2019 | 0.01267 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
497 | Unldng,Drag,Erec of 12.5MVA@ RP Nilayam | SE/SCADA | 07.01.2019 | 0.012307 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
498 | Unldng,Drag,Erec of 12.5MVA@ GYMKHANA SS | SE/SCADA | 07.01.2019 | 0.016241 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
499 | Unldng,Drag,Erec of 12.5MVA@ HMT SS | SE/SCADA | 07.01.2019 | 0.013565 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
500 | Enhc,of PTR-3 8 to12.5MVA at Malakpet SS | SE/SCADA | 05.11.2018 | 0.67011 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
501 | Revised Estimate for Providing of new Ea | SE/SCADA | 25.10.2018 | 0.019086 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
502 | E/S for Prov. 33 KV VCB on 33 KV LV Pra | SE/SCADA | 29.03.2019 | 0.096454 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
507 | Drg<(>&<)>Erec 12.5MVA PTR@Hyderguda SS | SE/SCADA | 11.02.2019 | 0.0068557 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
509 | Drgng,Ldng of 12.5MVA PTR@Thirumalgherss | SE/SCADA | 11.02.2019 | 0.0093706 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
510 | E/S for Supply and spreading of HBG meta | SE/SCADA | 28.02.2019 | 0.031094 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
511 | E/S for Double earthing of PTR-2 at 33/1 | SE/SCADA | 28.02.2019 | 0.0036372 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
512 | Unlod,Drg & Erec of 12,5 MVA @Salarjung | SE/SCADA | 11.02.2019 | 0.021508 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
513 | Unlod,Drg & Erec of 12,5 MVA @Petlaburj | SE/SCADA | 11.02.2019 | 0.021645 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
514 | Unldn,Drg<(>&<)>Erec 12.5MVA PTR@Malakpe | SE/SCADA | 11.02.2019 | 0.020048 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
515 | Unldng,Drag,Erec of 12.5MVA@ Vittalwadi | SE/SCADA | 11.02.2019 | 0.018919 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
516 | Enhancement of PTR at Hyderguda SS | SE/SCADA | 09.02.2019 | 0.0098036 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
518 | General: The Proposal is for enhancement | SE/SCADA | 01.02.2019 | 0.7882 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
521 | Enhancement of PTR at Petlaburz SS | SE/SCADA | 28.01.2019 | 0.79232 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
524 | Sup<(>&<)>Fix of DC Annunciatn pnl @Yous | SE/SCADA | 27.02.2019 | 0.03687 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I
525 | Erection and Commissioning of 1No 2KVA U | SE/SCADA | 28.02.2019 | 0.0095018 | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I | Submitted vide Distribution True-up petition for 3rd control Period as Annexure-I