## SE SCADA 19-20
SI.No | Name of the Work Order | Circle Name | Capitalisation date | Capitalization Cost (Rs. Crores) | PCC Reference | FCC Reference
1 | Replacement of damaged conductor at vari | SE/SCADA | 10.05.2019 | -0.00090412 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
2 | Repair ofAlstom make breaker@Ch baradari | SE/SCADA | 31.05.2019 | 0.0065848 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
3 | Replcmt of windows pro gate at AC Gurd S | SE/SCADA | 27.08.2019 | 0.017767 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
4 | IED relays for T/F Prt in MRT/South | SE/SCADA | 07.09.2019 | 0.51548 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
5 | Estmt for IED relays in MRT/south | SE/SCADA | 15.07.2019 | 0.48195 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
6 | O/D breaker IED fdr relay@MRT centr | SE/SCADA | 23.08.2019 | 2.0494 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
7 | est./D T/F IED relay@MRT central. | SE/SCADA | 24.07.2019 | 0.87384 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
8 | Estmt. for IED relays for FDR MRT/S/Prt | SE/SCADA | 10.07.2019 | 1.9053 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
9 | Estmt for fdr prot relays in MRT/south | SE/SCADA | 10.07.2019 | 1.0859 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
10 | Erection of RTUs@33/11KV ZP Ofc SS | SE/SCADA | 23.08.2019 | 0.0023914 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
11 | Enhan PTR-I frm 8 to 12.5MVA @ MOTHIMAH | SE/SCADA | 25.06.2019 | -0.00044536 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
12 | Estmt for T/F prot relays in MRT/South | SE/SCADA | 29.05.2019 | 0.69622 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
13 | Estmt. for IED relays for FDR MRT/S/Prt | SE/SCADA | 15.07.2019 | 1.2648 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
14 | Refurbishment of 11kV BHEL breakers | SE/SCADA | 01.07.2019 | 0.094387 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
15 | Prov.7No.2KVA UPS and Printer Chilkalgud | SE/SCADA | 04.09.2019 | 0.062885 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
16 | De-parallelizing of PTRs at Falaknuma SS | SE/SCADA | 07.01.2020 | 0.013895 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
17 | Erec. of 1No. New 33KV VCB @ Malakpet SS | SE/SCADA | 10.12.2019 | 0.072402 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
18 | Refurbishment of 33kV BHEL breakers | SE/SCADA | 05.07.2019 | 0.061154 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
19 | Est for I/D IED relays forT/F protection | SE/SCADA | 23.08.2019 | 0.8479 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
20 | Prov, of 48vDCPS at3No'sSS inMalakpetSec | SE/SCADA | 27.11.2019 | 0.0079749 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
21 | Conecting Cap.Bank to PTR-3 @ S.Nagar SS | SE/SCADA | 04.10.2019 | 0.010064 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
22 | Prov, 11kV BusCoupler at SantoshNagar SS | SE/SCADA | 04.10.2019 | 0.0044365 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
23 | Provi.33 KV VCB at JS In&Out in Gym SS | SE/SCADA | 28.08.2019 | 0.068064 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
24 | Provi.of 1No.33KV NNGR VCB at 132KV GUNR | SE/SCADA | 20.12.2019 | 0.060257 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
25 | Constrn SCADA ROOM 33/11KVSS ATTAPUR | SE/SCADA | 27.05.2019 | 0.060369 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
26 | Repl. of 400A SB ABswitch to 400A D/B AB | SE/SCADA | 01.11.2019 | 0.012379 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
27 | Prov, Earthing to IEDrelays @FalknumaSec | SE/SCADA | 01.07.2019 | 0.0014079 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
28 | Repl of 11kV 200A ABS to 400A DB ABS-LHZ | SE/SCADA | 31.07.2019 | 0.026478 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
29 | Prov, of 48vDCPS at Durg.nrSS@Ind.Ar Sec | SE/SCADA | 27.11.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
30 | Prov- HV new 33 KV VCB at Marredpally | SE/SCADA | 30.08.2019 | 0.078599 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
31 | Prov- GC -1 new 33 KV VCB at Bhudevinag | SE/SCADA | 02.11.2019 | 0.086226 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
32 | Providing 1No 33KV VCB and Bay extention | SE/SCADA | 30.08.2019 | 0.082755 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
33 | Repl.of33KV 3PhPT<(>&<)>Erec ABSwitch@33 | SE/SCADA | 23.11.2019 | 0.017844 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
34 | Erection of new 33 kv breaker at OU SS | SE/SCADA | 05.09.2019 | 0.08093 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
35 | 5 No's FPIs erection on 33kV Hitech City | SE/SCADA | 20.12.2019 | 0.017697 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
36 | E/S for Interlinking of 33/11KV Madhapur | SE/SCADA | 09.04.2019 | 0.053536 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
37 | Repl of 11KV Bharathnagar VCB @ IDPL SS | SE/SCADA | 30.04.2019 | 0.044306 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
38 | Repl of 11KV Balanagar VCB @ IDPL SS | SE/SCADA | 01.05.2019 | 0.044047 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
39 | Prov of Addl 8 MVA PTR in Golconda SS | SE/SCADA | 25.06.2019 | 0.19307 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
40 | RE-ROUTING OF 33KV GUNROCK-JAMES STREET | SE/SCADA | 30.12.2019 | 0.015673 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
41 | Providing of 33KV GC Breaker in 33/11KV | SE/SCADA | 30.04.2019 | 0.017795 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
42 | Estimate for conversion of OH to 33KV UG | SE/SCADA | 01.05.2019 | 0.01623 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
43 | Addl est in Golkonda ss | SE/SCADA | 16.05.2019 | 0.01945 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
44 | 33 kV Bay extension at Langer House SS | SE/SCADA | 10.04.2019 | 0.18459 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
45 | Re-routing of 33KV Gymkhana feeder at 13 | SE/SCADA | 03.12.2019 | 0.043655 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
46 | estmt for t/f prt IED relays MRT/South | SE/SCADA | 07.09.2019 | 0.31362 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
47 | Provi screed concerte ss malakpet | SE/SCADA | 27.05.2019 | 0.015281 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
48 | LV-PTR IED Internal wiring@South SD | SE/SCADA | 13.11.2019 | 0.022469 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
49 | E/S for Earthing of PTR-1 at 33/11kv RP | SE/SCADA | 29.04.2019 | 0.0052681 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
50 | E/S for Earthing of PTR-2 at 33/11kv Thi | SE/SCADA | 29.04.2019 | 0.004172 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
51 | E/S for Providing of 3rd source to 33/11 | SE/SCADA | 02.11.2019 | 0.025037 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
52 | Erec. 1no. 33KV O/D VCB @ Kundhanbagh SS | SE/SCADA | 11.03.2020 | 0.13589 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
53 | Revised Estimate for Erection of DP Stru | SE/SCADA | 11.03.2020 | 0.089147 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
54 | Unldng,Drag,Erec of 12.5MVA@Begumpet ss | SE/SCADA | 27.07.2019 | 0.013362 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
55 | Erec of 1No Line AB Switche@Golnaka Brdg | SE/SCADA | 10.10.2019 | 0.033582 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
56 | Inbuilt Fdr IED Internal wiring@South SD | SE/SCADA | 13.11.2019 | 0.019256 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
57 | Inbuilt Fdr IED Internal wiring@South SD | SE/SCADA | 13.11.2019 | 0.016046 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
58 | Inbuilt Fdr IED Intral wiring@Centra SD | SE/SCADA | 11.09.2019 | 0.027388 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
59 | LV-PTR IED Internal wiring@Central SD | SE/SCADA | 11.09.2019 | 0.01107 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
60 | Prov of 1 No 33kV 800A AB Switch@HSSS. | SE/SCADA | 25.05.2019 | 0.0048136 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
61 | Prov of 33kV interlinking UGcable @ HSSS | SE/SCADA | 01.02.2020 | 0.027579 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
62 | Prov of 33kV cable to 2No HV VCB's@I'Par | SE/SCADA | 25.05.2019 | 0.031687 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
63 | Providing of Addl. stand by source to th | SE/SCADA | 28.08.2019 | 0.034523 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
64 | Laying of 33kv Cables for Providing of 3 | SE/SCADA | 28.08.2019 | 0.039417 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
65 | E/S for Renovation of PTR plinth and ear | SE/SCADA | 01.05.2019 | 0.0095172 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
66 | E/S for Earthing of PTR-3 at Gymkhana SS | SE/SCADA | 29.04.2019 | 0.0027474 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
67 | Laying of CC Road at SCADA Building Gts | SE/SCADA | 27.05.2019 | 0.16152 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
68 | Laying of 33kv cable to karwan breaker@A | SE/SCADA | 30.04.2019 | 0.01285 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
69 | E/S for Providing of Additional Earthing | SE/SCADA | 09.04.2019 | 0.0089241 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
70 | E/S for Earthing of PTR-II at 33/11kv ML | SE/SCADA | 26.04.2019 | 0.0056171 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
71 | E/S for Erection of 33KV Line AB Switch | SE/SCADA | 27.11.2019 | 0.02156 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
72 | Unldng,Drag,Erec of 12.5MVA PTR@MLA Colo | SE/SCADA | 27.07.2019 | 0.020353 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
73 | Erection of new 33 kv breaker@Chilkgd SS | SE/SCADA | 05.09.2019 | 0.085761 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
74 | Erection of new 33 kv breaker@S'mandi SS | SE/SCADA | 05.09.2019 | 0.080664 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
75 | Prov of Split AC at Smart Grid Project | SE/SCADA | 05.09.2019 | 0.020706 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
76 | Report of the accompany | SE/SCADA | 05.09.2019 | 0.021686 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
77 | providing aluminum windows at DMSproje | SE/SCADA | 05.09.2019 | 0.021718 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
78 | Prov of Electrification at Smart Grid | SE/SCADA | 20.09.2019 | 0.020832 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
79 | Report to accompany the estimate | SE/SCADA | 05.09.2019 | 0.021775 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
80 | Estimate for laying out of Additional e | SE/SCADA | 30.04.2019 | 0.064088 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
81 | Estimate for laying out of Additional ea | SE/SCADA | 01.05.2019 | 0.055624 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
82 | Providing 33KVBus Coupler @Vittalwadi SS | SE/SCADA | 01.10.2019 | 0.010007 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
83 | Deparallel PTR-III @ 33/11KV Vittalwadi | SE/SCADA | 03.10.2019 | 0.0051649 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
84 | Estimate for providing of 2 Nos AB Swith | SE/SCADA | 10.03.2020 | 0.013583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
85 | E/S for Replacement of 4No.s 33KV Line A | SE/SCADA | 27.11.2019 | 0.026971 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
86 | Providing of 1No. 33kV VCB as IN and OUT | SE/SCADA | 09.04.2019 | 0.067058 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
87 | Repairs to staircase Sultanbazar SS | SE/SCADA | 27.05.2019 | 0.021156 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
88 | E/S for Providing of separate source to | SE/SCADA | 01.05.2019 | 0.035239 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
89 | Pro Internal external painting PATIGAdda | SE/SCADA | 25.06.2019 | 0.021135 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
90 | Rectification of begumpet cl slab Begump | SE/SCADA | 27.05.2019 | 0.01984 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
91 | 33KV Bus bypass @ Durganagar SS | SE/SCADA | 10.10.2019 | 0.02767 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
92 | Providing 33KVBus Coupler @Fever Hosp SS | SE/SCADA | 01.10.2019 | 0.010297 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
93 | Providing 33KVBus Coupler @ Amberpet SS | SE/SCADA | 01.10.2019 | 0.0090888 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
94 | Modification of 33KV bus @ Asifnagar ss | SE/SCADA | 01.11.2019 | 0.13751 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
95 | 33KV Bus bifurcation@Santosh Nagar SS | SE/SCADA | 04.10.2019 | 0.013568 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
96 | Erect.of 1 No's 33KV AB switch @ Malakpe | SE/SCADA | 01.11.2019 | 0.025853 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
97 | Erect, 1 No 33KV ABswitch@Falaknuma SS | SE/SCADA | 01.11.2019 | 0.023207 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
98 | HV BREAKERS AT ASIFNAGAR SS | SE/SCADA | 03.09.2019 | 0.19873 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
99 | Prov of 33kV VCB on Setharambagh@ASNR SS | SE/SCADA | 30.04.2019 | 0.1364 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
100 | Re-Est for Erect of 33KV Line AB swi Shi | SE/SCADA | 31.12.2019 | 0.038276 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
101 | Renovation & Modernization of 33/11KV Su | SE/SCADA | 01.08.2019 | 0.1891 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
102 | Estimate for conversion of 33KV ERG- Sri | SE/SCADA | 09.04.2019 | 0.14063 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
103 | Estimate for conversion of 33KV ERG-Allw | SE/SCADA | 09.04.2019 | 0.41169 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
104 | Erection <(>&<)> commissioning of 48V DC | SE/SCADA | 26.04.2019 | 0.010633 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
105 | Inbuilt Fdr IED Intral wiring Madapur/N | SE/SCADA | 03.08.2019 | 0.025954 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
106 | Inbuilt Fdr IED Intral wiring@North SD | SE/SCADA | 02.08.2019 | 0.025954 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
107 | LV PTR IED Internal wiring @North SD | SE/SCADA | 02.08.2019 | 0.038262 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
108 | Erec. of 11KV Bus PT @33/11KV Fvr.Hosp S | SE/SCADA | 03.10.2019 | 0.010081 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
109 | Erec of 11KV Bus PT @ 33/11KV Bathukamma | SE/SCADA | 03.10.2019 | 0.015792 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
110 | Erec of 11KV Bus PT @ 33/11KV Vittalwadi | SE/SCADA | 03.10.2019 | 0.0099884 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
111 | Prov, of 48vDCPS at Indiraparkss inHSsec | SE/SCADA | 25.05.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
112 | Prov, of 48vDCPS at P.Gardenss inHSsec | SE/SCADA | 25.05.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
113 | Prov, of 48vDCPS at Hydergudass inHSsec | SE/SCADA | 25.05.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
114 | Prov, of 48vDCPS at Jawahr ngrss inHSsec | SE/SCADA | 25.05.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
115 | Prov, of 48vDCPS at Lumbi parkss inHSsec | SE/SCADA | 25.05.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
116 | Prov, of 48vDCPS at Erramanzilss inHSsec | SE/SCADA | 25.05.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
117 | Prov, of 48vDCPS at Nizamcollss inHSss | SE/SCADA | 25.05.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
118 | Erection & commissioning 48V DCPS at 3No | SE/SCADA | 03.08.2019 | 0.0079749 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
119 | Erection of 48V DCPS at ENT SS | SE/SCADA | 30.04.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
120 | Erection of 48V DCPS at GOSHAMAHAL SS | SE/SCADA | 11.12.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
121 | Erection of 48V DCPS at KOTI WOMENS COLL | SE/SCADA | 10.10.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
122 | Erection of 48V DCPS at ITI MALLEPALLY S | SE/SCADA | 10.10.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
123 | Prov, of 48v DCPS@ Khilwath SS in Salarj | SE/SCADA | 02.12.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
124 | Prov, of 48v DCPS@ Petlaburz SS in Salar | SE/SCADA | 02.12.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
125 | Prov, of 48v DCPS@ Panjesha SS in Salarj | SE/SCADA | 02.12.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
126 | Prov, of 48v DCPS@ Yakuthpura SS inS.Nag | SE/SCADA | 02.12.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
127 | Prov, of 48v DCPS@ Kanchanbagh SS inS.Na | SE/SCADA | 02.12.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
128 | Prov, of 48v DCPS@ Laxmi Nagar SS in S.N | SE/SCADA | 02.12.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
129 | Prov, of 48v DCPS@ Aliyabad SS in Falakn | SE/SCADA | 02.12.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
130 | Prov, of 48v DCPS@ Moosarambagh SS in Ma | SE/SCADA | 27.11.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
131 | Prov, of 48v DCPS@ Malakpetgunj SS in Ma | SE/SCADA | 27.11.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
132 | Prov, of 48v DCPS@ Saidabad 'B' Quarters | SE/SCADA | 27.11.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
133 | Prov, of 1No 48vDCPS at Narayaguda SS | SE/SCADA | 04.09.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
134 | Prov, of 1No 48vDCPS at Zamistanpura SS | SE/SCADA | 04.09.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
135 | Prov, of 1No 48vDCPS at Golnaka SS | SE/SCADA | 25.04.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
136 | Erection & commissioning 48V DCPS at 5No | SE/SCADA | 26.08.2019 | 0.013292 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
137 | Estimate for laying new 33kV XLPE cable | SE/SCADA | 27.11.2019 | 0.096467 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
138 | Erection of incoming breaker on 33kv Jub | SE/SCADA | 09.04.2019 | 0.073194 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
139 | Providing of 2 No 33 KV VCB"s along with | SE/SCADA | 25.04.2019 | 0.17479 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
140 | Estimate for Replacement of 2 Nos AB Swi | SE/SCADA | 29.04.2019 | 0.010361 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
141 | Shifting of 33kV OH line on JHills-Yousu | SE/SCADA | 24.04.2019 | 0.044544 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
142 | De-parallel of PTR's@Salarjung SS | SE/SCADA | 02.11.2019 | 0.041001 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
143 | Interlinking of 33KV shapoornagar-HMT fe | SE/SCADA | 11.03.2020 | 0.035003 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
144 | s& spread HBG metal @ Hussainsaga SCADA | SE/SCADA | 27.05.2019 | 0.081734 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
145 | Erect. of 1 No New 33KV VCB @ Chancal Gu | SE/SCADA | 27.02.2020 | 0.18519 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
146 | Erect of 4 No New 33KV VCB's@Attapur SS | SE/SCADA | 02.12.2019 | 0.4687 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
147 | Erect of Additional 1 No 2MVAR Capacitor | SE/SCADA | 10.10.2019 | 0.096478 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
148 | Erect of Additional 1 No 2MVAR Capacitor | SE/SCADA | 10.10.2019 | 0.098962 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
149 | Erect of Additional 1 No 2MVAR Capacitor | SE/SCADA | 10.10.2019 | 0.098652 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
150 | Erect of Additional 1 No 2MVAR Capacitor | SE/SCADA | 23.11.2019 | 0.10176 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
151 | Erect of Additional 1 No 2MVAR Capacitor | SE/SCADA | 10.10.2019 | 0.095081 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
152 | Erect of 2MVAR Cap.Bank @ Miralam_SS | SE/SCADA | 01.11.2019 | 0.094206 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
153 | Erection and commissioning of 2MVAR capa | SE/SCADA | 01.11.2019 | 0.099117 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
154 | Erection and commissioning of 2MVAR capa | SE/SCADA | 01.11.2019 | 0.094926 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
155 | Erect of 2MVAR Cap.Bank @ Malakpet_SS | SE/SCADA | 01.11.2019 | 0.095129 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
156 | Erect of Additional 1 No 2MVAR Capacitor | SE/SCADA | 10.10.2019 | 0.095547 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
157 | Erect of 1 No 2MVAR Capacitor Bank on L | SE/SCADA | 10.10.2019 | 0.096013 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
158 | Erection and commissioning of 2MVAR capa | SE/SCADA | 04.12.2019 | 0.096634 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
159 | Erection of 1No 2MVAR Cap. Bank on LV2 a | SE/SCADA | 01.11.2019 | 0.097099 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
160 | 0 | SE/SCADA | 01.11.2019 | 0.097875 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
161 | Erect of Additional 1 No 2MVAR Capacitor | SE/SCADA | 10.10.2019 | 0.099583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
162 | Bifucatng Ch.Gutta-Falk fdr at 33/11KV C | SE/SCADA | 06.07.2019 | 0.13082 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
163 | Erect. of 2 No New 33KV VCBÆs as Incomer | SE/SCADA | 01.07.2019 | 0.21593 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
164 | Erec of 33KV bus @Asmangadh SS | SE/SCADA | 28.02.2020 | 0.12246 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
165 | Provig Almirahs to Accounts wing SCADA C | SE/SCADA | 27.05.2019 | 0.009265 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
166 | Malakpet SDiv-7SS<(>&<)>20Feed | SE/SCADA | 06.03.2020 | 0.039096 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
167 | Providing of 33KV & 11KV bus couplers in | SE/SCADA | 07.01.2020 | 0.029728 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
168 | Hussain Sagar SDiv-5SS<(>&<)>18Feed | SE/SCADA | 06.03.2020 | 0.035176 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
169 | Asifnagar SDiv-9SS<(>&<)>14Feed | SE/SCADA | 06.03.2020 | 0.036526 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
170 | Kalyan nagar SDiv-12SS<(>&<)>27Feed | SE/SCADA | 10.01.2020 | 0.054542 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
171 | Nehru Nagar SDiv-11SS<(>&<)>27Feed | SE/SCADA | 10.01.2020 | 0.053374 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
172 | Chilkalguda SDiv-9SS<(>&<)>15Feed | SE/SCADA | 06.03.2020 | 0.036889 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
173 | Renovation<(>&<)>Moderaization of 33/11K | SE/SCADA | 10.01.2020 | 0.045933 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
174 | Renovation&Moderaization of 33/11KV Sub- | SE/SCADA | 10.01.2020 | 0.046367 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
175 | Erection and comissioning of 33kV 3-way | SE/SCADA | 25.07.2019 | 0.38182 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
176 | Erection of 1No. New 33kv HV Breaker@OU | SE/SCADA | 05.09.2019 | 0.087874 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
177 | Erection of 2 no New HV VCBÆs at 33/11 | SE/SCADA | 27.08.2019 | 0.15136 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
178 | Renovation of Chamber o DE HussainsgrSS | SE/SCADA | 20.09.2019 | 0.044716 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
179 | Prov of 1 No 33kV 800A AB Switch@LAKE VI | SE/SCADA | 17.08.2019 | 0.006273 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
180 | Prov of 1 No 33kV 800A AB Switch@HSSS. | SE/SCADA | 25.05.2019 | 0.0067881 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
181 | Estimate for erection of Addl. 8 MVA PTR | SE/SCADA | 07.01.2020 | 0.24251 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
182 | Erection & commissioning 48V DCPS at 5No | SE/SCADA | 20.11.2019 | 0.013292 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
183 | Est for Reprs of 33kV Siemensmake@mrt/N | SE/SCADA | 03.01.2020 | 0.04452 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
184 | Erect.of 33KV RMU @ IICT | SE/SCADA | 24.02.2020 | 0.40787 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
185 | Erection of 33kV 3-way RMU @ 33/11 Asiff | SE/SCADA | 23.03.2020 | 0.39834 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
186 | Erection and comissioning of 33kV 3-way | SE/SCADA | 23.03.2020 | 0.39648 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
187 | Erection and comissioning of 33kV 3-way | SE/SCADA | 23.03.2020 | 0.39805 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
188 | Renovation & Modernization of 33/11KV Su | SE/SCADA | 25.06.2019 | 0.053571 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
189 | Renovation & Modernization of 33/11KV Su | SE/SCADA | 10.10.2019 | 0.05926 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
190 | Erect of 33kV RMU at Public Garden SS. | SE/SCADA | 23.03.2020 | 0.39922 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
191 | Errection and comissioning 33kv RMU at A | SE/SCADA | 23.03.2020 | 0.39498 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
192 | Drag,ldng<(>&<)>TRANS of 12.5MVA@PATIGAD | SE/SCADA | 27.07.2019 | 0.010288 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
193 | Supply and Spreading of 20mm machine cr | SE/SCADA | 26.04.2019 | 0.063446 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
194 | Sup n Fix of DC Annunci pnl @Langer hous | SE/SCADA | 23.08.2019 | 0.021205 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
195 | Sup n Fix of DC Annunci pnl @HAL | SE/SCADA | 02.08.2019 | 0.014928 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
196 | Sup n Fix of DC Annunci pnl @Golconda-I | SE/SCADA | 11.09.2019 | 0.020311 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
197 | Sup n Fix of DC Annunci pnl @Golconda-II | SE/SCADA | 11.09.2019 | 0.0195 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
198 | Sup n Fix of DC Annunci pnl @Malakpet SS | SE/SCADA | 13.11.2019 | 0.041211 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
199 | Sup n Fix of DC Annunci pnl @Miralam SS | SE/SCADA | 13.11.2019 | 0.040851 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
200 | Prov. 33KVUG Cable @33KV Ch.guta-C'guda | SE/SCADA | 24.02.2020 | 0.099509 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
201 | E/S for Supply and spreading of HBG meta | SE/SCADA | 02.11.2019 | 0.047217 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
202 | E/S for Supply and spreading of HBG meta | SE/SCADA | 02.11.2019 | 0.039903 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
203 | Sup n Fix of DC Annunci pnl @Bansilalpet | SE/SCADA | 02.08.2019 | 0.014551 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
204 | Sup n Fix of DC Annunci pnl @Asif ngr-I | SE/SCADA | 23.08.2019 | 0.024204 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
205 | Sup n Fix of DC Annunci pnl @Asif ngr-II | SE/SCADA | 11.09.2019 | 0.020407 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
206 | Renovation & Modernization of Substation | SE/SCADA | 26.08.2019 | 0.06535 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
207 | Renovation & Modernization of Substation | SE/SCADA | 03.08.2019 | 0.063058 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
208 | Renovation & Modernization of 33/11KV Su | SE/SCADA | 31.07.2019 | 0.063058 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
209 | Erection of 33kV 3-way RMU @ 33/11kv Mon | SE/SCADA | 12.02.2020 | 0.43178 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
210 | Erection of 33kV 3-way RMU @ 33/11kv Mac | SE/SCADA | 03.02.2020 | 0.42831 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
211 | Renovation & Modernization of 33/11KV Su | SE/SCADA | 31.07.2019 | 0.065202 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
212 | Sup n Fix of DC Annunci pnl @Madhapur ss | SE/SCADA | 02.08.2019 | 0.059947 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
213 | Renovation&Moderaization of 33/11KV Sub- | SE/SCADA | 09.01.2020 | 0.030853 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
214 | Prov of cable for 33kv RMU on S'bagh fee | SE/SCADA | 31.07.2019 | 0.032958 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
215 | Prov of cable for 33kv RMU for ASIFNAGAR | SE/SCADA | 03.09.2019 | 0.018244 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
216 | Providing of 33Kv and 11KV AB switches a | SE/SCADA | 29.02.2020 | 0.046404 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
217 | Est for Reprs of 33kV Siemensmake@mrt/C | SE/SCADA | 30.11.2019 | 0.014331 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
218 | Renovation&Moderaization of 33/11KV Sub- | SE/SCADA | 10.01.2020 | 0.022561 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
219 | Renovation&Moderaization of 33/11KV Sub- | SE/SCADA | 09.01.2020 | 0.02825 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
220 | Renovations & Modernisation of 33/11 KV | SE/SCADA | 04.09.2019 | 0.039888 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
221 | Ren.<(>&<)>Mod. of 33/11KV SS's @ Malakp | SE/SCADA | 28.11.2019 | 0.02517 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
222 | Ren.<(>&<)>Mod. of 33/11KV SS's @ Salarj | SE/SCADA | 01.07.2019 | 0.025799 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
223 | Ren.<(>&<)>Mod. of 33/11KV SS's @ Falakn | SE/SCADA | 04.07.2019 | 0.024738 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
224 | Ren.<(>&<)>Mod. of 33/11KV SS's @ S.Naga | SE/SCADA | 04.10.2019 | 0.027683 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
225 | Renovation & Modernisation in 33/11KV Su | SE/SCADA | 04.10.2019 | 0.026504 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
226 | Provdg furniture to ADE/AE DMS SCADA HYD | SE/SCADA | 19.09.2019 | 0.021243 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
227 | Constn sumpat MLA QRTRS SS,Jubliehills | SE/SCADA | 05.09.2019 | 0.017292 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
228 | Con motor shed and raising Attapur SS | SE/SCADA | 05.09.2019 | 0.019846 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
229 | prov furniture for DE and ADe's of MRt | SE/SCADA | 20.09.2019 | 0.015983 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
230 | Revised Estimate for shifting of 33kv B | SE/SCADA | 01.11.2019 | 0.050942 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
231 | Revised Estimate for erection of 2Nos RS | SE/SCADA | 17.03.2020 | 0.050982 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
232 | Retrofitting of Voltas breakers north SD | SE/SCADA | 03.01.2020 | 0.11422 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
233 | constn sump&cpvc pipe BanjarahillsRD 13 | SE/SCADA | 05.09.2019 | 0.019418 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
234 | Est for Addl Sapres of Alstom make@mrt/N | SE/SCADA | 31.01.2020 | 0.012429 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
235 | E/s for 33KV Maredpally UG Cable and KIM | SE/SCADA | 30.12.2019 | 0.026223 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
236 | Bunched feeder segregation of 33KV Thiru | SE/SCADA | 04.12.2019 | 0.018722 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
237 | Dismantling of 33KV Marredpally UG VCB a | SE/SCADA | 30.12.2019 | 0.014788 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
238 | Replacement of 11kV Pipe Bus to Panther | SE/SCADA | 30.12.2019 | 0.022336 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
239 | Providing of Addl. Source to 33/11KV LV | SE/SCADA | 20.11.2019 | 0.020033 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
240 | Erec<(>&<)>comm 48V DCPS at 2 No's SS in | SE/SCADA | 10.10.2019 | 0.0026583 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
241 | Est Addl VCBs Servicis Alstom make@mrt/C | SE/SCADA | 30.11.2019 | 0.028823 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
242 | Retrofitting of Voltas breakers north SD | SE/SCADA | 02.01.2020 | 0.083461 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
243 | E/s for erection of 33kV Line AB Switch | SE/SCADA | 31.12.2019 | 0.0065148 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
244 | Retrofitting of Voltas Brkr @Mythrivanam | SE/SCADA | 02.01.2020 | 0.054905 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
245 | Retrofitting of3Nos Voltas Brkr @MRT/S | SE/SCADA | 13.11.2019 | 0.085668 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
246 | Segregation of 33kV Hakimpet UG Cable-I | SE/SCADA | 30.12.2019 | 0.045158 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
247 | Providing of 33KV Bus Couplers at 33/11K | SE/SCADA | 04.12.2019 | 0.039649 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
248 | Providing of interlinking line between | SE/SCADA | 31.01.2020 | 0.042658 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
249 | Providing of Interlinking cable for 33/1 | SE/SCADA | 03.12.2019 | 0.029634 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
250 | Alwyn SDiv-9SS<(>&<)>30Feed | SE/SCADA | 10.01.2020 | 0.054386 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
251 | Providing of 2 nos 33 KV bus couplers @ | SE/SCADA | 25.01.2020 | 0.019717 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
252 | Separation and Restringing of 33KV Errag | SE/SCADA | 06.01.2020 | 0.026697 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
253 | Retrofitting of Voltas breakers@Central | SE/SCADA | 16.03.2020 | 0.11422 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
254 | Providing of Addl. Source to 33/11KV Yel | SE/SCADA | 10.03.2020 | 0.09 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
255 | Replacement of 11kV Pipe Bus with Panthe | SE/SCADA | 19.02.2020 | 0.020383 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
256 | Estimate for Changing of 33kV Road No.13 | SE/SCADA | 01.02.2020 | 0.077606 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
257 | Erection 3no.s New 33KV Line AB Switches | SE/SCADA | 31.01.2020 | 0.036807 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
258 | Interlinking of 33kV JHills-Madhapur4 VC | SE/SCADA | 31.01.2020 | 0.093346 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
259 | Estimate for Replacement of 11 KV bus co | SE/SCADA | 01.02.2020 | 0.0089158 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
260 | Replacement of bent and damaged spun pol | SE/SCADA | 01.02.2020 | 0.013911 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
261 | Replacment of 1No bent cut point Spun po | SE/SCADA | 01.02.2020 | 0.01416 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
262 | Replacement of 33kv HV-1 cable at 33/11K | SE/SCADA | 19.02.2020 | 0.018806 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
263 | Re-routing of 33kV GR-Airport feeder @33 | SE/SCADA | 19.02.2020 | 0.0063906 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
264 | Re-routing of 33kV GR-James Street feede | SE/SCADA | 11.02.2020 | 0.0054789 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
265 | Interchanging of I/c cables at Bhudevina | SE/SCADA | 11.02.2020 | 0.019907 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
266 | Re-routing of 33kV GR-Maredpally UG Cabl | SE/SCADA | 20.02.2020 | 0.006716 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
267 | Earthing of PTR-2 at 33/11kv Addagutta S | SE/SCADA | 27.02.2020 | 0.0045978 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
268 | E/S for Earthing of PTR-1 and Replacemen | SE/SCADA | 19.02.2020 | 0.0057698 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
269 | Prov of earthing for PTR-1@Bhudevinagar | SE/SCADA | 19.02.2020 | 0.0053157 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
270 | Providing of 2nd standby source to 33/11 | SE/SCADA | 10.03.2020 | 0.018125 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
271 | Interlinking of cable from 33KV Gunrock | SE/SCADA | 21.03.2020 | 0.031567 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I
272 | E/S for replacement of Spun pole,rail an | SE/SCADA | 21.03.2020 | 0.029618 | Submitted vide Distribution True-up petition for APR as Annexure-I | Submitted vide Distribution True-up petition for APR as Annexure-I